## Sheet1
LIVEBIT | WORD | W#16#0 | DCS communication livebit
TAH3101 | BOOL | FALSE | AL: Temperature high - Cabinet
XA3101A | BOOL | FALSE | AL: Fuse failure - 230V
XA3101B | BOOL | FALSE | AL: Fuse failure - 24V
XA0123 | BOOL | FALSE | AL: Common alarm - Turbine overspeed protection
XZ0122B | BOOL | FALSE | AL: Trip valve 2 off
SA0121A | BOOL | FALSE | AL: Probe failure - SE0121A
reserve_7 | BOOL | FALSE
SA0122A | BOOL | FALSE | AL: Probe failure - SE0122A
XA0138 | BOOL | FALSE | AL: MMS rack not OK
XZ0122A | BOOL | FALSE | AL: Trip valve 1 off
SA0122B | BOOL | FALSE | AL: Probe failure - SE0122B
SA0121B | BOOL | FALSE | AL: Probe failure - SE0121B
HZ0158 | BOOL | FALSE | TR: Emergency shutdown push button UCP
PAL2373 | BOOL | FALSE | AL: Pressure main steam supply low
SA0122C | BOOL | FALSE | AL: Probe failure - SE0122C
XZ0122C | BOOL | FALSE | AL: Trip valve 3 off
reserve_17 | BOOL | FALSE
ZA6182 | BOOL | FALSE | AL: Anti-surge valve solenoid deenergize by customer ESD
XAHH0151 | BOOL | FALSE | TR: Common trip shaft vibration
XAHH0155 | BOOL | FALSE | TR: Common trip shaft position
XAHH0156 | BOOL | FALSE | TR: Common trip MMS probe failure
XAHH0157 | BOOL | FALSE | TR: Common trip bearing temperature
reserve_23 | BOOL | FALSE
reserve_24 | BOOL | FALSE
reserve_25 | BOOL | FALSE
reserve_26 | BOOL | FALSE
reserve_27 | BOOL | FALSE
reserve_28 | BOOL | FALSE
reserve_29 | BOOL | FALSE
reserve_30 | BOOL | FALSE
reserve_31 | BOOL | FALSE
reserve_32 | BOOL | FALSE
reserve_33 | BOOL | FALSE
reserve_34 | BOOL | FALSE
reserve_35 | BOOL | FALSE
reserve_36 | BOOL | FALSE
reserve_37 | BOOL | FALSE
reserve_38 | BOOL | FALSE
reserve_39 | BOOL | FALSE
reserve_40 | BOOL | FALSE
reserve_41 | BOOL | FALSE
reserve_42 | BOOL | FALSE
reserve_43 | BOOL | FALSE
reserve_44 | BOOL | FALSE
reserve_45 | BOOL | FALSE
reserve_46 | BOOL | FALSE
reserve_47 | BOOL | FALSE
reserve_48 | BOOL | FALSE
PLC_ERR_EA | BOOL | FALSE | AL: PLC I/O error
PLC_ERR_RED | BOOL | FALSE | AL: PLC redundancy error
PLC_ERR_BAT | BOOL | FALSE | AL: PLC backup battery empty
PLC_ERR_MDL | BOOL | FALSE | AL: PLC I/O module error/removed
SIM_ACTIVE | BOOL | FALSE | AL: Simulation mode active
XZ0159 | BOOL | FALSE | TR: Startup condition faulty Start-up interlock from DCS
ZAH6182 | BOOL | FALSE | TR: Startup condition faulty Anti-surge valve not open
E1651_1_ERR | BOOL | FALSE | AL: Speed module BRAUN E1651 channel 1 error
E1651_2_ERR | BOOL | FALSE | AL: Speed module BRAUN E1651 channel 2 error
E1651_3_ERR | BOOL | FALSE | AL: Speed module BRAUN E1651 channel 3 error
E1651_4_ERR | BOOL | FALSE | AL: Speed module BRAUN E1651 channel 4 error
TR_ACC_L | BOOL | FALSE | TR: Turbine low acceleration in critical speed zone trip
TR_OVERSPEED | BOOL | FALSE | TR: Turbine overspeed limit exceeded (SCAUT)
XZ9150 | BOOL | FALSE | TR: Turbine rotor sticking protection trip
TR_F_TIMER | BOOL | FALSE | TR: Turbine speed measurement fail safe timer trip
XZA0122 | BOOL | FALSE | TR: Trip by ESD, BRAUN or multiple fuse faillure
TR_SP_MEAS | BOOL | FALSE | TR: Turbine trip by speed measurement error
TR_OVSP_PROT | BOOL | FALSE | TR: Turbine overspeed limit exceeded BRAUN
TR_MAN_MON | BOOL | FALSE | TR: Manual shutdown (monitor)
HDP_MASYS_FLT | BOOL | FALSE | AL: PLC DP-Mastersystem redundancy failure
HDP_STAT_FLT | BOOL | FALSE | AL: PLC DP-Station redundancy failure
TR_START_MONIT | BOOL | FALSE | TR: Turbine startup time monitoring speed below min. govenor speed
TR_MIN_SPEED_1 | BOOL | FALSE | TR: Turbine underspeed trip (Limit 1)
MMS_ERR | BOOL | FALSE | AL: MMS comm. - All conn. faulty
MMS_ERR0A | BOOL | FALSE | AL: MMS comm. - Conn. fault 0A (S7-CP_0 <-> MMS-CP_A)
MMS_ERR1B | BOOL | FALSE | AL: MMS comm. - Conn. fault 1B (S7-CP_1 <-> MMS-CP_B)
DCS_ERR | BOOL | FALSE | AL: DCS comm. - All connectons faulty
DCS_ERR0A | BOOL | FALSE | AL: DCS comm. - Conn. fault 0A (S7-CP_0 <-> DCS-CP_A)
DCS_ERR1B | BOOL | FALSE | AL: DCS comm. - Conn. fault 1B (S7-CP_1 <-> DCS-CP_B)
VAHH1418C | BOOL | FALSE | TR: Vibration compressor shaft too high (2oo4)
VZAHH0152C | BOOL | FALSE | TR: Position compressor shaft too high (2oo2)
VZALL0152C | BOOL | FALSE | TR: Position compressor shaft too low (2oo2)
TAHH1140C | BOOL | FALSE | TR: Temperature compressor radial bearing DE too high (2oo2)
TAHH1142C | BOOL | FALSE | TR: Temperature compressor radial bearing NDE too high (2oo2)
TAHH1144C | BOOL | FALSE | TR: Temperature compressor axial bearing inside too high (2oo2)
TAHH1146C | BOOL | FALSE | TR: Temperature compressor axial bearing outside too high (2oo2)
VI1418C_ERR | BOOL | FALSE | TR: Vibration compressor shaft probe failure (2oo4)
TI1140C_ERR | BOOL | FALSE | TR: Temperature compressor radial bearing DE probe failure (2oo2)
TI1142C_ERR | BOOL | FALSE | TR: Temperature compressor radial bearing NDE probe failure (2oo2)
TI1144C_ERR | BOOL | FALSE | TR: Temperature compressor axial bearing inside probe failure (2oo2)
TI1146C_ERR | BOOL | FALSE | TR: Temperature compressor axial bearing outside probe failure (2oo2)
VAHH0144 | BOOL | FALSE | TR: Vibration turbine shaft too high (2oo4)
VZAHH0141A | BOOL | FALSE | TR: Position turbine shaft front too high (2oo2)
VZALL0141A | BOOL | FALSE | TR: Position turbine shaft front too low (2oo2)
VI0144_ERR | BOOL | FALSE | TR: Vibration turbine shaft probe failure (2oo4)
TI1136C_ERR | BOOL | FALSE | TR: Temperature turbine radial bearing front probe failure (1oo2)
TI1138C_ERR | BOOL | FALSE | TR: Temperature turbine radial bearing rear probe failure (1oo2)
TI1132C_ERR | BOOL | FALSE | TR: Temperature turbine axial bearing inside probe failure (1oo2)
TI1134C_ERR | BOOL | FALSE | TR: Temperature turbine axial bearing outside probe failure (1oo2)
TAH1135_SC | BOOL | FALSE | TR: Startup condition faulty Temperature turbine radial bearing front high
TAH1136_SC | BOOL | FALSE | TR: Startup condition faulty Temperature turbine radial bearing front high
TAH1137_SC | BOOL | FALSE | TR: Startup condition faulty Temperature turbine radial bearing rear high
TAH1138_SC | BOOL | FALSE | TR: Startup condition faulty Temperature turbine radial bearing rear high
reserve_102 | BOOL | FALSE
reserve_103 | BOOL | FALSE
reserve_104 | BOOL | FALSE
reserve_105 | BOOL | FALSE
reserve_106 | BOOL | FALSE
reserve_107 | BOOL | FALSE
reserve_108 | BOOL | FALSE
reserve_109 | BOOL | FALSE
reserve_110 | BOOL | FALSE
reserve_111 | BOOL | FALSE
reserve_112 | BOOL | FALSE
VXAH0148A | BOOL | FALSE | AL: Vibration compressor shaft rear high
VXAHH0148A | BOOL | FALSE | AL: Vibration compressor shaft rear too high
VXAH0144A | BOOL | FALSE | AL: Vibration turbine shaft front high
VXAHH0144A | BOOL | FALSE | AL: Vibration turbine shaft front too high
XALL0152 | BOOL | FALSE | AL: Position compressor shaft too low
XAL0152 | BOOL | FALSE | AL: Position compressor shaft low
XAH0152 | BOOL | FALSE | AL: Position compressor shaft high
XAHH0152 | BOOL | FALSE | AL: Position compressor shaft too high
XALL0141 | BOOL | FALSE | AL: Position turbine shaft front too low
XAL0141 | BOOL | FALSE | AL: Position turbine shaft front low
XAH0141 | BOOL | FALSE | AL: Position turbine shaft front high
XAHH0141 | BOOL | FALSE | AL: Position turbine shaft front too high
VYAH0148B | BOOL | FALSE | AL: Vibration compressor shaft DE high
VYAHH0148B | BOOL | FALSE | AL: Vibration compressor shaft DE too high
VYAH0144B | BOOL | FALSE | AL: Vibration turbine shaft front high
VYAHH0144B | BOOL | FALSE | AL: Vibration turbine shaft front too high
XALL0153 | BOOL | FALSE | AL: Position compressor shaft too low
XAL0153 | BOOL | FALSE | AL: Position compressor shaft low
XAH0153 | BOOL | FALSE | AL: Position compressor shaft high
XAHH0153 | BOOL | FALSE | AL: Position compressor shaft too high
XALL0142 | BOOL | FALSE | AL: Position turbine shaft front too low
XAL0142 | BOOL | FALSE | AL: Position turbine shaft front low
XAH0142 | BOOL | FALSE | AL: Position turbine shaft front high
XAHH0142 | BOOL | FALSE | AL: Position turbine shaft front too high
VXAH0150A | BOOL | FALSE | AL: Vibration compressor shaft NDE high
VXAHH0150A | BOOL | FALSE | AL: Vibration compressor shaft NDE too high
VXAH0146A | BOOL | FALSE | AL: Vibration turbine shaft rear high
VXAHH0146A | BOOL | FALSE | AL: Vibration turbine shaft rear too high
VYAH0150B | BOOL | FALSE | AL: Vibration compressor shaft NDE high
VYAHH0150B | BOOL | FALSE | AL: Vibration compressor shaft NDE too high
VYAH0146B | BOOL | FALSE | AL: Vibration turbine shaft rear high
VYAHH0146B | BOOL | FALSE | AL: Vibration turbine shaft rear too high
TAH1139 | BOOL | FALSE | AL: Temperature compressor radial bearing DE high
TAHH1139 | BOOL | FALSE | AL: Temperature compressor radial bearing DE too high
TAH1141 | BOOL | FALSE | AL: Temperature compressor radial bearing NDE high
TAHH1141 | BOOL | FALSE | AL: Temperature compressor radial bearing NDE too high
TAH1143 | BOOL | FALSE | AL: Temperature compressor axial bearing inside high
TAHH1143 | BOOL | FALSE | AL: Temperature compressor axial bearing inside too high
TAH1145 | BOOL | FALSE | AL: Temperature compressor axial bearing outside high
TAHH1145 | BOOL | FALSE | AL: Temperature compressor axial bearing outside too high
TAH1140 | BOOL | FALSE | AL: Temperature compressor radial bearing DE high
TAHH1140 | BOOL | FALSE | AL: Temperature compressor radial bearing DE too high
TAH1142 | BOOL | FALSE | AL: Temperature compressor radial bearing NDE high
TAHH1142 | BOOL | FALSE | AL: Temperature compressor radial bearing NDE too high
TAH1144 | BOOL | FALSE | AL: Temperature compressor axial bearing inside high
TAHH1144 | BOOL | FALSE | AL: Temperature compressor axial bearing inside too high
TAH1146 | BOOL | FALSE | AL: Temperature compressor axial bearing outside high
TAHH1146 | BOOL | FALSE | AL: Temperature compressor axial bearing outside too high
TAH1135 | BOOL | FALSE | AL: Temperature turbine radial bearing front high
TAHH1135 | BOOL | FALSE | TR: Temperature turbine radial bearing front too high
TAH1137 | BOOL | FALSE | AL: Temperature turbine radial bearing rear high
TAHH1137 | BOOL | FALSE | TR: Temperature turbine radial bearing rear too high
TAH1131 | BOOL | FALSE | AL: Temperature turbine axial bearing inside high
TAHH1131 | BOOL | FALSE | TR: Temperature turbine axial bearing inside too high
TAH1133 | BOOL | FALSE | AL: Temperature turbine axial bearing outside high
TAHH1133 | BOOL | FALSE | TR: Temperature turbine axial bearing outside too high
TAH1136 | BOOL | FALSE | AL: Temperature turbine radial bearing front high
TAHH1136 | BOOL | FALSE | TR: Temperature turbine radial bearing front too high
TAH1138 | BOOL | FALSE | AL: Temperature turbine radial bearing rear high
TAHH1138 | BOOL | FALSE | TR: Temperature turbine radial bearing rear too high
TAH1132 | BOOL | FALSE | AL: Temperature turbine axial bearing inside high
TAHH1132 | BOOL | FALSE | TR: Temperature turbine axial bearing inside too high
TAH1134 | BOOL | FALSE | AL: Temperature turbine axial bearing outside high
TAHH1134 | BOOL | FALSE | TR: Temperature turbine axial bearing outside too high
TAHH1131C | BOOL | FALSE | TR: Temperature turbine axial bearing inside too high
TAHH1133C | BOOL | FALSE | TR: Temperature turbine axial bearing outside too high
TAHH1135C | BOOL | FALSE | TR: Temperature turbine radial bearing front too high
TAHH1137C | BOOL | FALSE | TR: Temperature turbine radial bearing rear too high
reserve_181 | BOOL | FALSE
reserve_182 | BOOL | FALSE
reserve_183 | BOOL | FALSE
reserve_184 | BOOL | FALSE
reserve_185 | BOOL | FALSE
reserve_186 | BOOL | FALSE
reserve_187 | BOOL | FALSE
reserve_188 | BOOL | FALSE
reserve_189 | BOOL | FALSE
reserve_190 | BOOL | FALSE
reserve_191 | BOOL | FALSE
reserve_192 | BOOL | FALSE
reserve_193 | BOOL | FALSE
reserve_194 | BOOL | FALSE
reserve_195 | BOOL | FALSE
reserve_196 | BOOL | FALSE
reserve_197 | BOOL | FALSE
reserve_198 | BOOL | FALSE
reserve_199 | BOOL | FALSE
reserve_200 | BOOL | FALSE
reserve_201 | BOOL | FALSE
reserve_202 | BOOL | FALSE
reserve_203 | BOOL | FALSE
reserve_204 | BOOL | FALSE
reserve_205 | BOOL | FALSE
reserve_206 | BOOL | FALSE
reserve_207 | BOOL | FALSE
reserve_208 | BOOL | FALSE
reserve_209 | BOOL | FALSE
reserve_210 | BOOL | FALSE
reserve_211 | BOOL | FALSE
reserve_212 | BOOL | FALSE
reserve_213 | BOOL | FALSE
reserve_214 | BOOL | FALSE
reserve_215 | BOOL | FALSE
reserve_216 | BOOL | FALSE
reserve_217 | BOOL | FALSE
reserve_218 | BOOL | FALSE
reserve_219 | BOOL | FALSE
reserve_220 | BOOL | FALSE
reserve_221 | BOOL | FALSE
reserve_222 | BOOL | FALSE
reserve_223 | BOOL | FALSE
reserve_224 | BOOL | FALSE
reserve_225 | BOOL | FALSE
reserve_226 | BOOL | FALSE
reserve_227 | BOOL | FALSE
reserve_228 | BOOL | FALSE
reserve_229 | BOOL | FALSE
reserve_230 | BOOL | FALSE
reserve_231 | BOOL | FALSE
reserve_232 | BOOL | FALSE
reserve_233 | BOOL | FALSE
reserve_234 | BOOL | FALSE
reserve_235 | BOOL | FALSE
reserve_236 | BOOL | FALSE
reserve_237 | BOOL | FALSE
reserve_238 | BOOL | FALSE
reserve_239 | BOOL | FALSE
reserve_240 | BOOL | FALSE
FI3068_ERR | BOOL | FALSE | AL: Diff.-Pressure - Compressor suction 1st process stage
PI2075A_ERR | BOOL | FALSE | AL: Pressure - Compressor suction 1st process stage
PI2075B_ERR | BOOL | FALSE | AL: Pressure - Compressor discharge 1st process stage
SC0121SP_ERR | BOOL | FALSE | AL: Turbine speed controller setpoint (70%-105%) from DCS
ZI6182_ERR | BOOL | FALSE | AL: Position feedback - Anti-surge valve
TI1182_ERR | BOOL | FALSE | AL: Temperature - Compressor suction 1st process stage
TI1383_ERR | BOOL | FALSE | AL: Temperature - Compressor discharge 1st process stage
ZI6122_ERR | BOOL | FALSE | AL: Position feedback - Main steam control valve
VXI0148A_ERR | BOOL | FALSE | AL: Vibration compressor shaft rear
VXI0144A_ERR | BOOL | FALSE | AL: Vibration turbine shaft front
XI0152_ERR | BOOL | FALSE | AL: Position compressor shaft
XI0141_ERR | BOOL | FALSE | AL: Position turbine shaft front
VYI0148B_ERR | BOOL | FALSE | AL: Vibration compressor shaft DE
VYI0144B_ERR | BOOL | FALSE | AL: Vibration turbine shaft front
XI0153_ERR | BOOL | FALSE | AL: Position compressor shaft
XI0142_ERR | BOOL | FALSE | AL: Position turbine shaft front
VXI0150A_ERR | BOOL | FALSE | AL: Vibration compressor shaft NDE
VXI0146A_ERR | BOOL | FALSE | AL: Vibration turbine shaft rear
VYI0150B_ERR | BOOL | FALSE | AL: Vibration compressor shaft NDE
VYI0146B_ERR | BOOL | FALSE | AL: Vibration turbine shaft rear
TI1139_ERR | BOOL | FALSE | AL: Temperature compressor radial bearing DE
TI1141_ERR | BOOL | FALSE | AL: Temperature compressor radial bearing NDE
TI1143_ERR | BOOL | FALSE | AL: Temperature compressor axial bearing inside
TI1145_ERR | BOOL | FALSE | AL: Temperature compressor axial bearing outside
TI1140_ERR | BOOL | FALSE | AL: Temperature compressor radial bearing DE
TI1142_ERR | BOOL | FALSE | AL: Temperature compressor radial bearing NDE
TI1144_ERR | BOOL | FALSE | AL: Temperature compressor axial bearing inside
TI1146_ERR | BOOL | FALSE | AL: Temperature compressor axial bearing outside
TI1135_ERR | BOOL | FALSE | AL: Temperature turbine radial bearing front
TI1137_ERR | BOOL | FALSE | AL: Temperature turbine radial bearing rear
TI1131_ERR | BOOL | FALSE | AL: Temperature turbine axial bearing inside
TI1133_ERR | BOOL | FALSE | AL: Temperature turbine axial bearing outside
TI1136_ERR | BOOL | FALSE | AL: Temperature turbine radial bearing front
TI1138_ERR | BOOL | FALSE | AL: Temperature turbine radial bearing rear
TI1132_ERR | BOOL | FALSE | AL: Temperature turbine axial bearing inside
TI1134_ERR | BOOL | FALSE | AL: Temperature turbine axial bearing outside
KI0143_ERR | BOOL | FALSE | AL: Speed turbine shaft keyphasor
reserve_278 | BOOL | FALSE
reserve_279 | BOOL | FALSE
reserve_280 | BOOL | FALSE
reserve_281 | BOOL | FALSE
reserve_282 | BOOL | FALSE
reserve_283 | BOOL | FALSE
reserve_284 | BOOL | FALSE
reserve_285 | BOOL | FALSE
reserve_286 | BOOL | FALSE
reserve_287 | BOOL | FALSE
reserve_288 | BOOL | FALSE
reserve_289 | BOOL | FALSE
reserve_290 | BOOL | FALSE
reserve_291 | BOOL | FALSE
reserve_292 | BOOL | FALSE
reserve_293 | BOOL | FALSE
reserve_294 | BOOL | FALSE
reserve_295 | BOOL | FALSE
reserve_296 | BOOL | FALSE
reserve_297 | BOOL | FALSE
reserve_298 | BOOL | FALSE
reserve_299 | BOOL | FALSE
reserve_300 | BOOL | FALSE
reserve_301 | BOOL | FALSE
reserve_302 | BOOL | FALSE
reserve_303 | BOOL | FALSE
reserve_304 | BOOL | FALSE
ZSH6121 | BOOL | FALSE | Turbine trip valve open
XS0159 | BOOL | FALSE | Start-up interlock from DCS
ZSH6182 | BOOL | FALSE | Limit switch - Anti-surge valve open
ZSL6182 | BOOL | FALSE | Limit switch - Anti-surge valve closed
reserve_309 | BOOL | FALSE
reserve_310 | BOOL | FALSE
reserve_311 | BOOL | FALSE
reserve_312 | BOOL | FALSE
reserve_313 | BOOL | FALSE
reserve_314 | BOOL | FALSE
reserve_315 | BOOL | FALSE
reserve_316 | BOOL | FALSE
reserve_317 | BOOL | FALSE
reserve_318 | BOOL | FALSE
reserve_319 | BOOL | FALSE
reserve_320 | BOOL | FALSE
reserve_321 | BOOL | FALSE
reserve_322 | BOOL | FALSE
reserve_323 | BOOL | FALSE
reserve_324 | BOOL | FALSE
reserve_325 | BOOL | FALSE
reserve_326 | BOOL | FALSE
reserve_327 | BOOL | FALSE
reserve_328 | BOOL | FALSE
reserve_329 | BOOL | FALSE
reserve_330 | BOOL | FALSE
reserve_331 | BOOL | FALSE
reserve_332 | BOOL | FALSE
reserve_333 | BOOL | FALSE
reserve_334 | BOOL | FALSE
reserve_335 | BOOL | FALSE
reserve_336 | BOOL | FALSE
FT3068 | INT | 0 | Diff. pressure transmitter with indicator Compressor suction 1st process stage
PT2075A | INT | 0 | Pressure transmitter with indicator Compressor suction 1st process stage
PT2075B | INT | 0 | Pressure transmitter with indicator Compressor discharge 1st process stage
SC0121SP | INT | 0 | from DCS Turbine Speed Controller Setpoint
ZT6182 | INT | 0 | Feed back positioner mounted on AS valve
TT1182 | INT | 0 | Temperature transmitter Compressor suction 1st process stage
TT1383 | INT | 0 | Temperature transmitter Compressor discharge 1st process stage
ZT6122 | INT | 0 | Position Feedback main steam control valve
VE0148A | INT | 0 | Vibration probe Compressor shaft DE
VE0144A | INT | 0 | Vibration probe Turbine shaft front
VE0148B | INT | 0 | Vibration probe Compressor shaft DE
VE0144B | INT | 0 | Vibration probe Turbine shaft front
VE0150A | INT | 0 | Vibration probe Compressor shaft NDE
VE0146A | INT | 0 | Vibration probe Turbine shaft rear
VE0150B | INT | 0 | Vibration probe Compressor shaft NDE
VE0146B | INT | 0 | Vibration probe Turbine shaft rear
XE0152 | INT | 0 | Position probe Compressor shaft
XE0141 | INT | 0 | Position probe Turbine shaft front
XE0153 | INT | 0 | Position probe Compressor shaft
XE0142 | INT | 0 | Position probe Turbine shaft front
TE1139 | INT | 0 | Temperature element Compressor radial bearing DE
TE1141 | INT | 0 | Temperature element Compressor radial bearing NDE
TE1143 | INT | 0 | Temperature element Compressor axial bearing NDE inside
TE1145 | INT | 0 | Temperature element Compressor axial bearing NDE outside
TE1140 | INT | 0 | Temperature element Compressor radial bearing DE
TE1142 | INT | 0 | Temperature element Compressor radial bearing NDE
TE1144 | INT | 0 | Temperature element Compressor axial bearing NDE inside
TE1146 | INT | 0 | Temperature element Compressor axial bearing NDE outside
TE1135 | INT | 0 | Temperature element Turbine radial bearing front
TE1137 | INT | 0 | Temperature element Turbine radial bearing rear
TE1131 | INT | 0 | Temperature element Axial bearing turbine inside
TE1133 | INT | 0 | Temperature element Axial bearing turbine outside
TE1136 | INT | 0 | Temperature element Turbine radial bearing front
TE1138 | INT | 0 | Temperature element Turbine radial bearing rear
TE1132 | INT | 0 | Temperature element Axial bearing turbine inside
TE1134 | INT | 0 | Temperature element Axial bearing turbine outside
KE0143 | INT | 0 | Vibration reference probe/-sensor Turbine shaft front
UCV6182 | INT | 0 | Anti surge valve Compressor bypass 1st process stage
SI0121_2 | INT | 0 | Speed indicator Turbine shaft front
SI0121 | INT | 0 | To DCS Turbine Speed Controller Actual Speed
SC0121SPA | INT | 0 | To DCS Turbine Turbine Speed Controller Actual Setpoint
TI1182 | INT | 0 | Compressor suction 1st process stage Temperature signal
UIL6182 | INT | 0 | Anti-surge controller Control Deviation Anti surge controller
SY6122 | INT | 0 | valve set value Main Steam control valve