## Sheet1
TAH3101 | I 0.0 | BOOL | Cabinet Temper
XA3101A | I 0.1 | BOOL | 220V AC Fuse failure
XA3101B | I 0.2 | BOOL | 24 DC Fuse failure
XA0123 | I 0.3 | BOOL | Common Alarm Turbine Overspeed Protection
XZ0122B | I 0.4 | BOOL | Trip valve 2 not off
SA0121A | I 0.5 | BOOL | Probe failure SE0121A Turbine Speed Control
spareI0_6 | I 0.6 | BOOL | spare
spareI0_7 | I 0.7 | BOOL | spare
SA0122A | I 1.0 | BOOL | Probe failure SE0122A Turbine Speed Control
ZS6182 | I 1.1 | BOOL | Solenoid valve control CMPR bypass 1st process stage
spareI1_2 | I 1.2 | BOOL | spare
XS0138 | I 1.3 | BOOL | OK MMS Rack
HS0169_1 | I 1.4 | BOOL | Interlock reset From Customer ESD
HS0170 | I 1.5 | BOOL | Push button Start / Run
HS0171 | I 1.6 | BOOL | Push button Speed raise
HS0172 | I 1.7 | BOOL | Push button Speed lower
HS0173 | I 2.0 | BOOL | Push button N2 Operation
HS0174 | I 2.1 | BOOL | Selector switch Start sequence stop / cont.
HS0175 | I 2.2 | BOOL | Push button Remote operation enabled
HS0177 | I 2.3 | BOOL | Push button Spare
SpareI2_4 | I 2.4 | BOOL | Spare
HS0181 | I 2.5 | BOOL | Push button Lamp test
SpareI2_6 | I 2.6 | BOOL | Spare
SpareI2_7 | I 2.7 | BOOL | Spare
HZ0158A_B_C | I 3.0 | BOOL | ESD signal from UCP ESD button on UCP to ESD Contact 4
ZSH6121_1 | I 3.1 | BOOL | Limit Switch Trip Valve open from ESD
PAL2373 | I 3.2 | BOOL | Main steam supply Pressure alarm From DCS
XS0159 | I 3.3 | BOOL | Common start up interlocking Common start up interlocking from DCS to UCP
ZSH6182_1 | I 3.4 | BOOL | Relay contact AS Valve Opened From Customer DCS
ZSL6182_1 | I 3.5 | BOOL | Relay contact AS Valve Closed From Customer DCS
SA0122C | I 3.6 | BOOL | Probe failure SE0122C Overspeed Protection
XZ0122C | I 3.7 | BOOL | Trip valve 3 not off
XZ0122A | I 4.0 | BOOL | Trip valve 1 not off
SA0122B | I 4.1 | BOOL | Probe Failure SE0122B Overspeed Protection
SA0121B | I 4.2 | BOOL | Probe Failure SE0121B Turbine Speed control
SpareI4_3 | I 4.3 | BOOL | Spare
XSHH_0151 | I 4.4 | BOOL | Common Trip Vibration
XSHH_0155 | I 4.5 | BOOL | Common Trip Position
XSHH_0156 | I 4.6 | BOOL | Common Trip Probe Failure
XSHH_0157 | I 4.7 | BOOL | Common Trip Bearing Temper
XSH_0157 | I 5.0 | BOOL | Common Turbine Radial Bearing Temper Alarm
SpareI5_1 | I 5.1 | BOOL | Spare
SpareI5_2 | I 5.2 | BOOL | Spare
SpareI5_3 | I 5.3 | BOOL | Spare
SpareI5_4 | I 5.4 | BOOL | Spare
SpareI5_5 | I 5.5 | BOOL | Spare
SpareI5_6 | I 5.6 | BOOL | Spare
SpareI5_7 | I 5.7 | BOOL | Spare
BReset | M 1.7 | BOOL | Reset
M_BN_COM_FAULT | M 7.6 | BOOL
M_BN_COMM_FLT_CPU0 | M 20.0 | BOOL | Modbus communication fault with CPU0
M_BN_COMM_FLT_CPU1 | M 20.1 | BOOL | Modbus communication with CPU1
VKE=0 | M 40.0 | BOOL | FALSE
VKE=1 | M 40.1 | BOOL | TRUE
MSPS_Start | M 67.4 | BOOL | On in First OB1 Cycle
M_BN3500_CPU0_DONE | M 80.0 | BOOL
M_BN3500_CPU0_ERR | M 80.1 | BOOL
M_BN3500_TRIG_FP_CPU0 | M 80.2 | BOOL | Modbus request trigger for CPU0 - positive edge
M_BN3500_TRIG_CPU0 | M 80.3 | BOOL | Modbus request trigger for CPU0
M_BN3500_REQ_CPU0 | M 80.4 | BOOL | Modbus request for CPU0
M_BN3500_REQ_FP_CPU0 | M 80.5 | BOOL | Modbus request for CPU0 - positive edge
M_BN3500_SEND_REQ_CPU0 | M 80.6 | BOOL | Modbus send request for CPU0
M_BN3500_CPU1_DONE | M 81.0 | BOOL
M_BN3500_CPU1_ERR | M 81.1 | BOOL
M_BN3500_TRIG_FP_CPU1 | M 81.2 | BOOL | Modbus request trigger for CPU1 - positive edge
M_BN3500_TRIG_CPU1 | M 81.3 | BOOL | Modbus request trigger for CPU1
M_BN3500_REQ_CPU1 | M 81.4 | BOOL | Modbus request for CPU1
M_BN3500_REQ_FP_CPU1 | M 81.5 | BOOL | Modbus request for CPU1 - positive edge
M_BN3500_SEND_REQ_CPU1 | M 81.6 | BOOL | Modbus send request for CPU1
MFT3068-SF | M 100.0 | BOOL | SF Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MFT3068-SIM_STS | M 100.1 | BOOL | Status sim Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MFT3068-AHHH | M 100.2 | BOOL | Limit HHH Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MFT3068-AHH | M 100.3 | BOOL | Limit HH Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MFT3068-AH | M 100.4 | BOOL | Limit H Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MFT3068-AL | M 100.5 | BOOL | Limit L Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MFT3068-ALL | M 100.6 | BOOL | Limit LL Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MFT3068-ALLL | M 100.7 | BOOL | Limit LLL Diff. pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-SF | M 101.0 | BOOL | SENSOR FAULT Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-SIM_STS | M 101.1 | BOOL | Status sim Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-AHHH | M 101.2 | BOOL | Limit HHH Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-AHH | M 101.3 | BOOL | Limit HH Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-AH | M 101.4 | BOOL | Limit H Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-AL | M 101.5 | BOOL | Limit L Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-ALL | M 101.6 | BOOL | Limit LL Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075A-ALLL | M 101.7 | BOOL | Limit LLL Pressure trnsmt with indicator CMPR suction 1st process stage
MPT2075B-SF | M 102.0 | BOOL | SENSOR FAULT Pressure trnsmt with indicator CMPR discharge 1st process stage
MPT2075B-SIM_STS | M 102.1 | BOOL | Status sim Pressure trnsmt with indicator CMPR discharge 1st process stage
MPT2075B-AHHH | M 102.2 | BOOL | Limit HHH Pressure trnsmt with indicator CMPR discharge 1st process stage
MPT2075B-AHH | M 102.3 | BOOL | Limit HH Pressure trnsmt with indicator CMPR discharge 1st process stage
MPT2075B-AH | M 102.4 | BOOL | Limit H Pressure trnsmt with indicator CMPR discharge 1st process stage
MPT2075B-AL | M 102.5 | BOOL | Limit L Pressure trnsmt with indicator CMPR discharge 1st process stage
MPT2075B-ALL | M 102.6 | BOOL | Limit LL Pressure trnsmt with indicator CMPR discharge 1st process stage
MPT2075B-ALLL | M 102.7 | BOOL | Limit LLL Pressure trnsmt with indicator CMPR discharge 1st process stage
MSC0121SP-SF | M 103.0 | BOOL | SENSOR FAULT from DCS Turbine Speed Controller Setpoint
MSC0121SP-SIM_STS | M 103.1 | BOOL | Status sim from DCS Turbine Speed Controller Setpoint
MSC0121SP-AHHH | M 103.2 | BOOL | Limit HHH from DCS Turbine Speed Controller Setpoint
MSC0121SP-AHH | M 103.3 | BOOL | Limit HH from DCS Turbine Speed Controller Setpoint
MSC0121SP-AH | M 103.4 | BOOL | Limit H from DCS Turbine Speed Controller Setpoint
MSC0121SP-AL | M 103.5 | BOOL | Limit L from DCS Turbine Speed Controller Setpoint
MSC0121SP-ALL | M 103.6 | BOOL | Limit LL from DCS Turbine Speed Controller Setpoint
MSC0121SP-ALLL | M 103.7 | BOOL | Limit LLL from DCS Turbine Speed Controller Setpoint
MspareIW520-SF | M 104.0 | BOOL | SENSOR FAULT spare
MspareIW520-SIM_STS | M 104.1 | BOOL | Status sim spare
MspareIW520-AHHH | M 104.2 | BOOL | Limit HHH spare
MspareIW520-AHH | M 104.3 | BOOL | Limit HH spare
MspareIW520-AH | M 104.4 | BOOL | Limit H spare
MspareIW520-AL | M 104.5 | BOOL | Limit L spare
MspareIW520-ALL | M 104.6 | BOOL | Limit LL spare
MspareIW520-ALLL | M 104.7 | BOOL | Limit LLL spare
MspareIW522-SF | M 105.0 | BOOL | SENSOR FAULT spare
MspareIW522-SIM_STS | M 105.1 | BOOL | Status sim spare
MspareIW522-AHHH | M 105.2 | BOOL | Limit HHH spare
MspareIW522-AHH | M 105.3 | BOOL | Limit HH spare
MspareIW522-AH | M 105.4 | BOOL | Limit H spare
MspareIW522-AL | M 105.5 | BOOL | Limit L spare
MspareIW522-ALL | M 105.6 | BOOL | Limit LL spare
MspareIW522-ALLL | M 105.7 | BOOL | Limit LLL spare
MspareIW524-SF | M 106.0 | BOOL | SENSOR FAULT spare
MspareIW524-SIM_STS | M 106.1 | BOOL | Status sim spare
MspareIW524-AHHH | M 106.2 | BOOL | Limit HHH spare
MspareIW524-AHH | M 106.3 | BOOL | Limit HH spare
MspareIW524-AH | M 106.4 | BOOL | Limit H spare
MspareIW524-AL | M 106.5 | BOOL | Limit L spare
MspareIW524-ALL | M 106.6 | BOOL | Limit LL spare
MspareIW524-ALLL | M 106.7 | BOOL | Limit LLL spare
MspareIW526-SF | M 107.0 | BOOL | SENSOR FAULT spare
MspareIW526-SIM_STS | M 107.1 | BOOL | Status sim spare
MspareIW526-AHHH | M 107.2 | BOOL | Limit HHH spare
MspareIW526-AHH | M 107.3 | BOOL | Limit HH spare
MspareIW526-AH | M 107.4 | BOOL | Limit H spare
MspareIW526-AL | M 107.5 | BOOL | Limit L spare
MspareIW526-ALL | M 107.6 | BOOL | Limit LL spare
MspareIW526-ALLL | M 107.7 | BOOL | Limit LLL spare
MZT6182-SF | M 108.0 | BOOL | SENSOR FAULT Feed back positioner mounted on AS valve
MZT6182-SIM_STS | M 108.1 | BOOL | Status sim Feed back positioner mounted on AS valve
MZT6182-AHHH | M 108.2 | BOOL | Limit HHH Feed back positioner mounted on AS valve
MZT6182-AHH | M 108.3 | BOOL | Limit HH Feed back positioner mounted on AS valve
MZT6182-AH | M 108.4 | BOOL | Limit H Feed back positioner mounted on AS valve
MZT6182-AL | M 108.5 | BOOL | Limit L Feed back positioner mounted on AS valve
MZT6182-ALL | M 108.6 | BOOL | Limit LL Feed back positioner mounted on AS valve
MZT6182-ALLL | M 108.7 | BOOL | Limit LLL Feed back positioner mounted on AS valve
MTT1182-SF | M 109.0 | BOOL | SENSOR FAULT Temper trnsmt CMPR suction 1st process stage
MTT1182-SIM_STS | M 109.1 | BOOL | Status sim Temper trnsmt CMPR suction 1st process stage
MTT1182-AHHH | M 109.2 | BOOL | Limit HHH Temper trnsmt CMPR suction 1st process stage
MTT1182-AHH | M 109.3 | BOOL | Limit HH Temper trnsmt CMPR suction 1st process stage
MTT1182-AH | M 109.4 | BOOL | Limit H Temper trnsmt CMPR suction 1st process stage
MTT1182-AL | M 109.5 | BOOL | Limit L Temper trnsmt CMPR suction 1st process stage
MTT1182-ALL | M 109.6 | BOOL | Limit LL Temper trnsmt CMPR suction 1st process stage
MTT1182-ALLL | M 109.7 | BOOL | Limit LLL Temper trnsmt CMPR suction 1st process stage
MTT1383-SF | M 110.0 | BOOL | SENSOR FAULT Temper trnsmt CMPR discharge 1st process stage
MTT1383-SIM_STS | M 110.1 | BOOL | Status sim Temper trnsmt CMPR discharge 1st process stage
MTT1383-AHHH | M 110.2 | BOOL | Limit HHH Temper trnsmt CMPR discharge 1st process stage
MTT1383-AHH | M 110.3 | BOOL | Limit HH Temper trnsmt CMPR discharge 1st process stage
MTT1383-AH | M 110.4 | BOOL | Limit H Temper trnsmt CMPR discharge 1st process stage
MTT1383-AL | M 110.5 | BOOL | Limit L Temper trnsmt CMPR discharge 1st process stage
MTT1383-ALL | M 110.6 | BOOL | Limit LL Temper trnsmt CMPR discharge 1st process stage
MTT1383-ALLL | M 110.7 | BOOL | Limit LLL Temper trnsmt CMPR discharge 1st process stage
MspareIW646-SF | M 111.0 | BOOL | SENSOR FAULT spare
MspareIW646-SIM_STS | M 111.1 | BOOL | Status sim spare
MspareIW646-AHHH | M 111.2 | BOOL | Limit HHH spare
MspareIW646-AHH | M 111.3 | BOOL | Limit HH spare
MspareIW646-AH | M 111.4 | BOOL | Limit H spare
MspareIW646-AL | M 111.5 | BOOL | Limit L spare
MspareIW646-ALL | M 111.6 | BOOL | Limit LL spare
MspareIW646-ALLL | M 111.7 | BOOL | Limit LLL spare
MspareIW648-SF | M 112.0 | BOOL | SENSOR FAULT spare
MspareIW648-SIM_STS | M 112.1 | BOOL | Status sim spare
MspareIW648-AHHH | M 112.2 | BOOL | Limit HHH spare
MspareIW648-AHH | M 112.3 | BOOL | Limit HH spare
MspareIW648-AH | M 112.4 | BOOL | Limit H spare
MspareIW648-AL | M 112.5 | BOOL | Limit L spare
MspareIW648-ALL | M 112.6 | BOOL | Limit LL spare
MspareIW648-ALLL | M 112.7 | BOOL | Limit LLL spare
MspareIW650-SF | M 113.0 | BOOL | SENSOR FAULT spare
MspareIW650-SIM_STS | M 113.1 | BOOL | Status sim spare
MspareIW650-AHHH | M 113.2 | BOOL | Limit HHH spare
MspareIW650-AHH | M 113.3 | BOOL | Limit HH spare
MspareIW650-AH | M 113.4 | BOOL | Limit H spare
MspareIW650-AL | M 113.5 | BOOL | Limit L spare
MspareIW650-ALL | M 113.6 | BOOL | Limit LL spare
MspareIW650-ALLL | M 113.7 | BOOL | Limit LLL spare
MspareIW652-SF | M 114.0 | BOOL | SENSOR FAULT spare
MspareIW652-SIM_STS | M 114.1 | BOOL | Status sim spare
MspareIW652-AHHH | M 114.2 | BOOL | Limit HHH spare
MspareIW652-AHH | M 114.3 | BOOL | Limit HH spare
MspareIW652-AH | M 114.4 | BOOL | Limit H spare
MspareIW652-AL | M 114.5 | BOOL | Limit L spare
MspareIW652-ALL | M 114.6 | BOOL | Limit LL spare
MspareIW652-ALLL | M 114.7 | BOOL | Limit LLL spare
MZT6122-SF | M 115.0 | BOOL | SENSOR FAULT Position Feedback main steam control valve
MZT6122-SIM_STS | M 115.1 | BOOL | Status sim Position Feedback main steam control valve
MZT6122-AHHH | M 115.2 | BOOL | Limit HHH Position Feedback main steam control valve
MZT6122-AHH | M 115.3 | BOOL | Limit HH Position Feedback main steam control valve
MZT6122-AH | M 115.4 | BOOL | Limit H Position Feedback main steam control valve
MZT6122-AL | M 115.5 | BOOL | Limit L Position Feedback main steam control valve
MZT6122-ALL | M 115.6 | BOOL | Limit LL Position Feedback main steam control valve
MZT6122-ALLL | M 115.7 | BOOL | Limit LLL Position Feedback main steam control valve
MVE0148A-SF | M 116.0 | BOOL | SENSOR FAULT Vibration probe CMPR shaft DE
MVE0148A-SIM_STS | M 116.1 | BOOL | Status sim Vibration probe CMPR shaft DE
MVE0148A-AHHH | M 116.2 | BOOL | Limit HHH Vibration probe CMPR shaft DE
MVE0148A-AHH | M 116.3 | BOOL | Limit HH Vibration probe CMPR shaft DE
MVE0148A-AH | M 116.4 | BOOL | Limit H Vibration probe CMPR shaft DE
MVE0148A-AL | M 116.5 | BOOL | Limit L Vibration probe CMPR shaft DE
MVE0148A-ALL | M 116.6 | BOOL | Limit LL Vibration probe CMPR shaft DE
MVE0148A-ALLL | M 116.7 | BOOL | Limit LLL Vibration probe CMPR shaft DE
MVE0144A-SF | M 117.0 | BOOL | SENSOR FAULT Vibration probe Turbine shaft front
MVE0144A-SIM_STS | M 117.1 | BOOL | Status sim Vibration probe Turbine shaft front
MVE0144A-AHHH | M 117.2 | BOOL | Limit HHH Vibration probe Turbine shaft front
MVE0144A-AHH | M 117.3 | BOOL | Limit HH Vibration probe Turbine shaft front
MVE0144A-AH | M 117.4 | BOOL | Limit H Vibration probe Turbine shaft front
MVE0144A-AL | M 117.5 | BOOL | Limit L Vibration probe Turbine shaft front
MVE0144A-ALL | M 117.6 | BOOL | Limit LL Vibration probe Turbine shaft front
MVE0144A-ALLL | M 117.7 | BOOL | Limit LLL Vibration probe Turbine shaft front
MVE0148B-SF | M 118.0 | BOOL | SENSOR FAULT Vibration probe CMPR shaft DE
MVE0148B-SIM_STS | M 118.1 | BOOL | Status sim Vibration probe CMPR shaft DE
MVE0148B-AHHH | M 118.2 | BOOL | Limit HHH Vibration probe CMPR shaft DE
MVE0148B-AHH | M 118.3 | BOOL | Limit HH Vibration probe CMPR shaft DE
MVE0148B-AH | M 118.4 | BOOL | Limit H Vibration probe CMPR shaft DE
MVE0148B-AL | M 118.5 | BOOL | Limit L Vibration probe CMPR shaft DE
MVE0148B-ALL | M 118.6 | BOOL | Limit LL Vibration probe CMPR shaft DE
MVE0148B-ALLL | M 118.7 | BOOL | Limit LLL Vibration probe CMPR shaft DE
MVE0144B-SF | M 119.0 | BOOL | SENSOR FAULT Vibration probe Turbine shaft front
MVE0144B-SIM_STS | M 119.1 | BOOL | Status sim Vibration probe Turbine shaft front
MVE0144B-AHHH | M 119.2 | BOOL | Limit HHH Vibration probe Turbine shaft front
MVE0144B-AHH | M 119.3 | BOOL | Limit HH Vibration probe Turbine shaft front
MVE0144B-AH | M 119.4 | BOOL | Limit H Vibration probe Turbine shaft front
MVE0144B-AL | M 119.5 | BOOL | Limit L Vibration probe Turbine shaft front
MVE0144B-ALL | M 119.6 | BOOL | Limit LL Vibration probe Turbine shaft front
MVE0144B-ALLL | M 119.7 | BOOL | Limit LLL Vibration probe Turbine shaft front
MVE0150A-SF | M 120.0 | BOOL | SENSOR FAULT Vibration probe CMPR shaft NDE
MVE0150A-SIM_STS | M 120.1 | BOOL | Status sim Vibration probe CMPR shaft NDE
MVE0150A-AHHH | M 120.2 | BOOL | Limit HHH Vibration probe CMPR shaft NDE
MVE0150A-AHH | M 120.3 | BOOL | Limit HH Vibration probe CMPR shaft NDE
MVE0150A-AH | M 120.4 | BOOL | Limit H Vibration probe CMPR shaft NDE
MVE0150A-AL | M 120.5 | BOOL | Limit L Vibration probe CMPR shaft NDE
MVE0150A-ALL | M 120.6 | BOOL | Limit LL Vibration probe CMPR shaft NDE
MVE0150A-ALLL | M 120.7 | BOOL | Limit LLL Vibration probe CMPR shaft NDE
MVE0146A-SF | M 121.0 | BOOL | SENSOR FAULT Vibration probe Turbine shaft rear
MVE0146A-SIM_STS | M 121.1 | BOOL | Status sim Vibration probe Turbine shaft rear
MVE0146A-AHHH | M 121.2 | BOOL | Limit HHH Vibration probe Turbine shaft rear
MVE0146A-AHH | M 121.3 | BOOL | Limit HH Vibration probe Turbine shaft rear
MVE0146A-AH | M 121.4 | BOOL | Limit H Vibration probe Turbine shaft rear
MVE0146A-AL | M 121.5 | BOOL | Limit L Vibration probe Turbine shaft rear
MVE0146A-ALL | M 121.6 | BOOL | Limit LL Vibration probe Turbine shaft rear
MVE0146A-ALLL | M 121.7 | BOOL | Limit LLL Vibration probe Turbine shaft rear
MVE0150B-SF | M 122.0 | BOOL | SENSOR FAULT Vibration probe CMPR shaft NDE
MVE0150B-SIM_STS | M 122.1 | BOOL | Status sim Vibration probe CMPR shaft NDE
MVE0150B-AHHH | M 122.2 | BOOL | Limit HHH Vibration probe CMPR shaft NDE
MVE0150B-AHH | M 122.3 | BOOL | Limit HH Vibration probe CMPR shaft NDE
MVE0150B-AH | M 122.4 | BOOL | Limit H Vibration probe CMPR shaft NDE
MVE0150B-AL | M 122.5 | BOOL | Limit L Vibration probe CMPR shaft NDE
MVE0150B-ALL | M 122.6 | BOOL | Limit LL Vibration probe CMPR shaft NDE
MVE0150B-ALLL | M 122.7 | BOOL | Limit LLL Vibration probe CMPR shaft NDE
MVE0146B-SF | M 123.0 | BOOL | SENSOR FAULT Vibration probe Turbine shaft rear
MVE0146B-SIM_STS | M 123.1 | BOOL | Status sim Vibration probe Turbine shaft rear
MVE0146B-AHHH | M 123.2 | BOOL | Limit HHH Vibration probe Turbine shaft rear
MVE0146B-AHH | M 123.3 | BOOL | Limit HH Vibration probe Turbine shaft rear
MVE0146B-AH | M 123.4 | BOOL | Limit H Vibration probe Turbine shaft rear
MVE0146B-AL | M 123.5 | BOOL | Limit L Vibration probe Turbine shaft rear
MVE0146B-ALL | M 123.6 | BOOL | Limit LL Vibration probe Turbine shaft rear
MVE0146B-ALLL | M 123.7 | BOOL | Limit LLL Vibration probe Turbine shaft rear
MXE0152-SF | M 124.0 | BOOL | SENSOR FAULT Position probe CMPR shaft
MXE0152-SIM_STS | M 124.1 | BOOL | Status sim Position probe CMPR shaft
MXE0152-AHHH | M 124.2 | BOOL | Limit HHH Position probe CMPR shaft
MXE0152-AHH | M 124.3 | BOOL | Limit HH Position probe CMPR shaft
MXE0152-AH | M 124.4 | BOOL | Limit H Position probe CMPR shaft
MXE0152-AL | M 124.5 | BOOL | Limit L Position probe CMPR shaft
MXE0152-ALL | M 124.6 | BOOL | Limit LL Position probe CMPR shaft
MXE0152-ALLL | M 124.7 | BOOL | Limit LLL Position probe CMPR shaft
MXE0141-SF | M 125.0 | BOOL | SENSOR FAULT Position probe Turbine shaft front
MXE0141-SIM_STS | M 125.1 | BOOL | Status sim Position probe Turbine shaft front
MXE0141-AHHH | M 125.2 | BOOL | Limit HHH Position probe Turbine shaft front
MXE0141-AHH | M 125.3 | BOOL | Limit HH Position probe Turbine shaft front
MXE0141-AH | M 125.4 | BOOL | Limit H Position probe Turbine shaft front
MXE0141-AL | M 125.5 | BOOL | Limit L Position probe Turbine shaft front
MXE0141-ALL | M 125.6 | BOOL | Limit LL Position probe Turbine shaft front
MXE0141-ALLL | M 125.7 | BOOL | Limit LLL Position probe Turbine shaft front
MXE0153-SF | M 126.0 | BOOL | SENSOR FAULT Position probe CMPR shaft
MXE0153-SIM_STS | M 126.1 | BOOL | Status sim Position probe CMPR shaft
MXE0153-AHHH | M 126.2 | BOOL | Limit HHH Position probe CMPR shaft
MXE0153-AHH | M 126.3 | BOOL | Limit HH Position probe CMPR shaft
MXE0153-AH | M 126.4 | BOOL | Limit H Position probe CMPR shaft
MXE0153-AL | M 126.5 | BOOL | Limit L Position probe CMPR shaft
MXE0153-ALL | M 126.6 | BOOL | Limit LL Position probe CMPR shaft
MXE0153-ALLL | M 126.7 | BOOL | Limit LLL Position probe CMPR shaft
MXE0142-SF | M 127.0 | BOOL | SENSOR FAULT Position probe Turbine shaft front
MXE0142-SIM_STS | M 127.1 | BOOL | Status sim Position probe Turbine shaft front
MXE0142-AHHH | M 127.2 | BOOL | Limit HHH Position probe Turbine shaft front
MXE0142-AHH | M 127.3 | BOOL | Limit HH Position probe Turbine shaft front
MXE0142-AH | M 127.4 | BOOL | Limit H Position probe Turbine shaft front
MXE0142-AL | M 127.5 | BOOL | Limit L Position probe Turbine shaft front
MXE0142-ALL | M 127.6 | BOOL | Limit LL Position probe Turbine shaft front
MXE0142-ALLL | M 127.7 | BOOL | Limit LLL Position probe Turbine shaft front
MTE1139-SF | M 128.0 | BOOL | SENSOR FAULT Temper element CMPR radial bearing DE
MTE1139-SIM_STS | M 128.1 | BOOL | Status sim Temper element CMPR radial bearing DE
MTE1139-AHHH | M 128.2 | BOOL | Limit HHH Temper element CMPR radial bearing DE
MTE1139-AHH | M 128.3 | BOOL | Limit HH Temper element CMPR radial bearing DE
MTE1139-AH | M 128.4 | BOOL | Limit H Temper element CMPR radial bearing DE
MTE1139-AL | M 128.5 | BOOL | Limit L Temper element CMPR radial bearing DE
MTE1139-ALL | M 128.6 | BOOL | Limit LL Temper element CMPR radial bearing DE
MTE1139-ALLL | M 128.7 | BOOL | Limit LLL Temper element CMPR radial bearing DE
MTE1141-SF | M 129.0 | BOOL | SENSOR FAULT Temper element CMPR radial bearing NDE
MTE1141-SIM_STS | M 129.1 | BOOL | Status sim Temper element CMPR radial bearing NDE
MTE1141-AHHH | M 129.2 | BOOL | Limit HHH Temper element CMPR radial bearing NDE
MTE1141-AHH | M 129.3 | BOOL | Limit HH Temper element CMPR radial bearing NDE
MTE1141-AH | M 129.4 | BOOL | Limit H Temper element CMPR radial bearing NDE
MTE1141-AL | M 129.5 | BOOL | Limit L Temper element CMPR radial bearing NDE
MTE1141-ALL | M 129.6 | BOOL | Limit LL Temper element CMPR radial bearing NDE
MTE1141-ALLL | M 129.7 | BOOL | Limit LLL Temper element CMPR radial bearing NDE
MTE1143-SF | M 130.0 | BOOL | SENSOR FAULT Temper element CMPR axial bearing NDE inside
MTE1143-SIM_STS | M 130.1 | BOOL | Status sim Temper element CMPR axial bearing NDE inside
MTE1143-AHHH | M 130.2 | BOOL | Limit HHH Temper element CMPR axial bearing NDE inside
MTE1143-AHH | M 130.3 | BOOL | Limit HH Temper element CMPR axial bearing NDE inside
MTE1143-AH | M 130.4 | BOOL | Limit H Temper element CMPR axial bearing NDE inside
MTE1143-AL | M 130.5 | BOOL | Limit L Temper element CMPR axial bearing NDE inside
MTE1143-ALL | M 130.6 | BOOL | Limit LL Temper element CMPR axial bearing NDE inside
MTE1143-ALLL | M 130.7 | BOOL | Limit LLL Temper element CMPR axial bearing NDE inside
MTE1145-SF | M 131.0 | BOOL | SENSOR FAULT Temper element CMPR axial bearing NDE outside
MTE1145-SIM_STS | M 131.1 | BOOL | Status sim Temper element CMPR axial bearing NDE outside
MTE1145-AHHH | M 131.2 | BOOL | Limit HHH Temper element CMPR axial bearing NDE outside
MTE1145-AHH | M 131.3 | BOOL | Limit HH Temper element CMPR axial bearing NDE outside
MTE1145-AH | M 131.4 | BOOL | Limit H Temper element CMPR axial bearing NDE outside
MTE1145-AL | M 131.5 | BOOL | Limit L Temper element CMPR axial bearing NDE outside
MTE1145-ALL | M 131.6 | BOOL | Limit LL Temper element CMPR axial bearing NDE outside
MTE1145-ALLL | M 131.7 | BOOL | Limit LLL Temper element CMPR axial bearing NDE outside
MTE1140-SF | M 132.0 | BOOL | SENSOR FAULT Temper element CMPR radial bearing DE
MTE1140-SIM_STS | M 132.1 | BOOL | Status sim Temper element CMPR radial bearing DE
MTE1140-AHHH | M 132.2 | BOOL | Limit HHH Temper element CMPR radial bearing DE
MTE1140-AHH | M 132.3 | BOOL | Limit HH Temper element CMPR radial bearing DE
MTE1140-AH | M 132.4 | BOOL | Limit H Temper element CMPR radial bearing DE
MTE1140-AL | M 132.5 | BOOL | Limit L Temper element CMPR radial bearing DE
MTE1140-ALL | M 132.6 | BOOL | Limit LL Temper element CMPR radial bearing DE
MTE1140-ALLL | M 132.7 | BOOL | Limit LLL Temper element CMPR radial bearing DE
MTE1142-SF | M 133.0 | BOOL | SENSOR FAULT Temper element CMPR radial bearing NDE
MTE1142-SIM_STS | M 133.1 | BOOL | Status sim Temper element CMPR radial bearing NDE
MTE1142-AHHH | M 133.2 | BOOL | Limit HHH Temper element CMPR radial bearing NDE
MTE1142-AHH | M 133.3 | BOOL | Limit HH Temper element CMPR radial bearing NDE
MTE1142-AH | M 133.4 | BOOL | Limit H Temper element CMPR radial bearing NDE
MTE1142-AL | M 133.5 | BOOL | Limit L Temper element CMPR radial bearing NDE
MTE1142-ALL | M 133.6 | BOOL | Limit LL Temper element CMPR radial bearing NDE
MTE1142-ALLL | M 133.7 | BOOL | Limit LLL Temper element CMPR radial bearing NDE
MTE1144-SF | M 134.0 | BOOL | SENSOR FAULT Temper element CMPR axial bearing NDE inside
MTE1144-SIM_STS | M 134.1 | BOOL | Status sim Temper element CMPR axial bearing NDE inside
MTE1144-AHHH | M 134.2 | BOOL | Limit HHH Temper element CMPR axial bearing NDE inside
MTE1144-AHH | M 134.3 | BOOL | Limit HH Temper element CMPR axial bearing NDE inside
MTE1144-AH | M 134.4 | BOOL | Limit H Temper element CMPR axial bearing NDE inside
MTE1144-AL | M 134.5 | BOOL | Limit L Temper element CMPR axial bearing NDE inside
MTE1144-ALL | M 134.6 | BOOL | Limit LL Temper element CMPR axial bearing NDE inside
MTE1144-ALLL | M 134.7 | BOOL | Limit LLL Temper element CMPR axial bearing NDE inside
MTE1146-SF | M 135.0 | BOOL | SENSOR FAULT Temper element CMPR axial bearing NDE outside
MTE1146-SIM_STS | M 135.1 | BOOL | Status sim Temper element CMPR axial bearing NDE outside
MTE1146-AHHH | M 135.2 | BOOL | Limit HHH Temper element CMPR axial bearing NDE outside
MTE1146-AHH | M 135.3 | BOOL | Limit HH Temper element CMPR axial bearing NDE outside
MTE1146-AH | M 135.4 | BOOL | Limit H Temper element CMPR axial bearing NDE outside
MTE1146-AL | M 135.5 | BOOL | Limit L Temper element CMPR axial bearing NDE outside
MTE1146-ALL | M 135.6 | BOOL | Limit LL Temper element CMPR axial bearing NDE outside
MTE1146-ALLL | M 135.7 | BOOL | Limit LLL Temper element CMPR axial bearing NDE outside
MTE1135-SF | M 136.0 | BOOL | SENSOR FAULT Temper element Turbine radial bearing front
MTE1135-SIM_STS | M 136.1 | BOOL | Status sim Temper element Turbine radial bearing front
MTE1135-AHHH | M 136.2 | BOOL | Limit HHH Temper element Turbine radial bearing front
MTE1135-AHH | M 136.3 | BOOL | Limit HH Temper element Turbine radial bearing front
MTE1135-AH | M 136.4 | BOOL | Limit H Temper element Turbine radial bearing front
MTE1135-AL | M 136.5 | BOOL | Limit L Temper element Turbine radial bearing front
MTE1135-ALL | M 136.6 | BOOL | Limit LL Temper element Turbine radial bearing front
MTE1135-ALLL | M 136.7 | BOOL | Limit LLL Temper element Turbine radial bearing front
MTE1137-SF | M 137.0 | BOOL | SENSOR FAULT Temper element Turbine radial bearing rear
MTE1137-SIM_STS | M 137.1 | BOOL | Status sim Temper element Turbine radial bearing rear
MTE1137-AHHH | M 137.2 | BOOL | Limit HHH Temper element Turbine radial bearing rear
MTE1137-AHH | M 137.3 | BOOL | Limit HH Temper element Turbine radial bearing rear
MTE1137-AH | M 137.4 | BOOL | Limit H Temper element Turbine radial bearing rear
MTE1137-AL | M 137.5 | BOOL | Limit L Temper element Turbine radial bearing rear
MTE1137-ALL | M 137.6 | BOOL | Limit LL Temper element Turbine radial bearing rear
MTE1137-ALLL | M 137.7 | BOOL | Limit LLL Temper element Turbine radial bearing rear
MTE1131-SF | M 138.0 | BOOL | SENSOR FAULT Temper element Axial bearing turbine inside
MTE1131-SIM_STS | M 138.1 | BOOL | Status sim Temper element Axial bearing turbine inside
MTE1131-AHHH | M 138.2 | BOOL | Limit HHH Temper element Axial bearing turbine inside
MTE1131-AHH | M 138.3 | BOOL | Limit HH Temper element Axial bearing turbine inside
MTE1131-AH | M 138.4 | BOOL | Limit H Temper element Axial bearing turbine inside
MTE1131-AL | M 138.5 | BOOL | Limit L Temper element Axial bearing turbine inside
MTE1131-ALL | M 138.6 | BOOL | Limit LL Temper element Axial bearing turbine inside
MTE1131-ALLL | M 138.7 | BOOL | Limit LLL Temper element Axial bearing turbine inside
MTE1133-SF | M 139.0 | BOOL | SENSOR FAULT Temper element Axial bearing turbine outside
MTE1133-SIM_STS | M 139.1 | BOOL | Status sim Temper element Axial bearing turbine outside
MTE1133-AHHH | M 139.2 | BOOL | Limit HHH Temper element Axial bearing turbine outside
MTE1133-AHH | M 139.3 | BOOL | Limit HH Temper element Axial bearing turbine outside
MTE1133-AH | M 139.4 | BOOL | Limit H Temper element Axial bearing turbine outside
MTE1133-AL | M 139.5 | BOOL | Limit L Temper element Axial bearing turbine outside
MTE1133-ALL | M 139.6 | BOOL | Limit LL Temper element Axial bearing turbine outside
MTE1133-ALLL | M 139.7 | BOOL | Limit LLL Temper element Axial bearing turbine outside
MTE1136-SF | M 140.0 | BOOL | SENSOR FAULT Temper element Turbine radial bearing front
MTE1136-SIM_STS | M 140.1 | BOOL | Status sim Temper element Turbine radial bearing front
MTE1136-AHHH | M 140.2 | BOOL | Limit HHH Temper element Turbine radial bearing front
MTE1136-AHH | M 140.3 | BOOL | Limit HH Temper element Turbine radial bearing front
MTE1136-AH | M 140.4 | BOOL | Limit H Temper element Turbine radial bearing front
MTE1136-AL | M 140.5 | BOOL | Limit L Temper element Turbine radial bearing front
MTE1136-ALL | M 140.6 | BOOL | Limit LL Temper element Turbine radial bearing front
MTE1136-ALLL | M 140.7 | BOOL | Limit LLL Temper element Turbine radial bearing front
MTE1138-SF | M 141.0 | BOOL | SENSOR FAULT Temper element Turbine radial bearing rear
MTE1138-SIM_STS | M 141.1 | BOOL | Status sim Temper element Turbine radial bearing rear
MTE1138-AHHH | M 141.2 | BOOL | Limit HHH Temper element Turbine radial bearing rear
MTE1138-AHH | M 141.3 | BOOL | Limit HH Temper element Turbine radial bearing rear
MTE1138-AH | M 141.4 | BOOL | Limit H Temper element Turbine radial bearing rear
MTE1138-AL | M 141.5 | BOOL | Limit L Temper element Turbine radial bearing rear
MTE1138-ALL | M 141.6 | BOOL | Limit LL Temper element Turbine radial bearing rear
MTE1138-ALLL | M 141.7 | BOOL | Limit LLL Temper element Turbine radial bearing rear
MTE1132-SF | M 142.0 | BOOL | SENSOR FAULT Temper element Axial bearing turbine inside
MTE1132-SIM_STS | M 142.1 | BOOL | Status sim Temper element Axial bearing turbine inside
MTE1132-AHHH | M 142.2 | BOOL | Limit HHH Temper element Axial bearing turbine inside
MTE1132-AHH | M 142.3 | BOOL | Limit HH Temper element Axial bearing turbine inside
MTE1132-AH | M 142.4 | BOOL | Limit H Temper element Axial bearing turbine inside
MTE1132-AL | M 142.5 | BOOL | Limit L Temper element Axial bearing turbine inside
MTE1132-ALL | M 142.6 | BOOL | Limit LL Temper element Axial bearing turbine inside
MTE1132-ALLL | M 142.7 | BOOL | Limit LLL Temper element Axial bearing turbine inside
MTE1134-SF | M 143.0 | BOOL | SENSOR FAULT Temper element Axial bearing turbine outside
MTE1134-SIM_STS | M 143.1 | BOOL | Status sim Temper element Axial bearing turbine outside
MTE1134-AHHH | M 143.2 | BOOL | Limit HHH Temper element Axial bearing turbine outside
MTE1134-AHH | M 143.3 | BOOL | Limit HH Temper element Axial bearing turbine outside
MTE1134-AH | M 143.4 | BOOL | Limit H Temper element Axial bearing turbine outside
MTE1134-AL | M 143.5 | BOOL | Limit L Temper element Axial bearing turbine outside
MTE1134-ALL | M 143.6 | BOOL | Limit LL Temper element Axial bearing turbine outside
MTE1134-ALLL | M 143.7 | BOOL | Limit LLL Temper element Axial bearing turbine outside
MKE0143-SF | M 144.0 | BOOL | SENSOR FAULT Vibration reference probe/-sensor Turbine shaft front
MKE0143-SIM_STS | M 144.1 | BOOL | Status sim Vibration reference probe/-sensor Turbine shaft front
MKE0143-AHHH | M 144.2 | BOOL | Limit HHH Vibration reference probe/-sensor Turbine shaft front
MKE0143-AHH | M 144.3 | BOOL | Limit HH Vibration reference probe/-sensor Turbine shaft front
MKE0143-AH | M 144.4 | BOOL | Limit H Vibration reference probe/-sensor Turbine shaft front
MKE0143-AL | M 144.5 | BOOL | Limit L Vibration reference probe/-sensor Turbine shaft front
MKE0143-ALL | M 144.6 | BOOL | Limit LL Vibration reference probe/-sensor Turbine shaft front
MKE0143-ALLL | M 144.7 | BOOL | Limit LLL Vibration reference probe/-sensor Turbine shaft front
METAH3101 | M 200.0 | BOOL | Cabinet Temper
MEXA3101A | M 200.1 | BOOL | 220V AC Fuse failure
MEXA3101B | M 200.2 | BOOL | 24 DC Fuse failure
MEXA0123 | M 200.3 | BOOL | Common Alarm Turbine Overspeed Protection
MEXZ0122B | M 200.4 | BOOL | Trip valve 2 not off
MESA0121A | M 200.5 | BOOL | Probe failure SE0121A Turbine Speed Control
MEspareI0_6 | M 200.6 | BOOL | spare
MEspareI0_7 | M 200.7 | BOOL | spare
MESA0122A | M 201.0 | BOOL | Probe failure SE0122A Turbine Speed Control
MEZS6182 | M 201.1 | BOOL | Solenoid valve control CMPR bypass 1st process stage
MEspareI1_2 | M 201.2 | BOOL | spare
MEXS0138 | M 201.3 | BOOL | OK MMS Rack
MEHS0169_1 | M 201.4 | BOOL | Interlock reset From Customer ESD
MEHS0170 | M 201.5 | BOOL | Push button Start / Run
MEHS0171 | M 201.6 | BOOL | Push button Speed raise
MEHS0172 | M 201.7 | BOOL | Push button Speed lower
MEHS0173 | M 202.0 | BOOL | Push button N2 Operation
MEHS0174 | M 202.1 | BOOL | Selector switch Start sequence stop / cont.
MEHS0175 | M 202.2 | BOOL | Push button Remote operation enabled
MEHS0177 | M 202.3 | BOOL | Push button Spare
MESpareI2_4 | M 202.4 | BOOL | Spare
MEHS0181 | M 202.5 | BOOL | Push button Lamp test
MESpareI2_6 | M 202.6 | BOOL | Spare
MESpareI2_7 | M 202.7 | BOOL | Spare
MEHZ0158_C | M 203.0 | BOOL | ESD signal from UCP ESD button on UCP to ESD Contact 4
MEZSH6121_1 | M 203.1 | BOOL | Limit Switch Trip Valve open from ESD
MEPAL2373 | M 203.2 | BOOL | Main steam supply Pressure alarm From DCS
MEXS0159 | M 203.3 | BOOL | Common start up interlocking Common start up interlocking from DCS to UCP
MEZSH6182_1 | M 203.4 | BOOL | Relay contact AS Valve Opened From Customer DCS
MEZSL6182_1 | M 203.5 | BOOL | Relay contact AS Valve Closed From Customer DCS
MESA0122C | M 203.6 | BOOL | Probe failure SE0122C Overspeed Protection
MEXZ0122C | M 203.7 | BOOL | Trip valve 3 not off
MEXZ0122A | M 204.0 | BOOL | Trip valve 1 not off
MESA0122B | M 204.1 | BOOL | Probe Failure SE0122B Overspeed Protection
MESA0121B | M 204.2 | BOOL | Probe Failure SE0121B Turbine Speed control
MESpareI4_3 | M 204.3 | BOOL | Spare
MEXSHH_0151 | M 204.4 | BOOL | Common Trip Vibration
MEXSHH_0155 | M 204.5 | BOOL | Common Trip Position
MEXSHH_0156 | M 204.6 | BOOL | Common Trip Probe Failure
MEXSHH_0157 | M 204.7 | BOOL | Common Trip Bearing Temper
MEXSH_0157 | M 205.0 | BOOL | Common Turbine Radial Bearing Temper Alarm
MESpareI5_1 | M 205.1 | BOOL | Spare
MESpareI5_2 | M 205.2 | BOOL | Spare
MESpareI5_3 | M 205.3 | BOOL | Spare
MESpareI5_4 | M 205.4 | BOOL | Spare
MESpareI5_5 | M 205.5 | BOOL | Spare
MESpareI5_6 | M 205.6 | BOOL | Spare
MESpareI5_7 | M 205.7 | BOOL | Spare
MAXS0140 | M 400.0 | BOOL | Trip multiply MMS Rack
MAHS0139 | M 400.1 | BOOL | Reset MMS Rack
MAUYV6182 | M 400.2 | BOOL | mounted on AS valve Solenoid valve
MAXS0121 | M 400.3 | BOOL | Channel A: Activating rejection of the low speed trip
MAXS0124 | M 400.4 | BOOL | Reset overspeed protection after SD
MAXZ0121 | M 400.5 | BOOL | SCAUT UCP Trip Trip Valve CH. A
MAXZ0122 | M 400.6 | BOOL | SCAUT UCP Trip Trip Valve CH. B
MAXZ0123 | M 400.7 | BOOL | SCAUT UCP Trip Trip Valve CH. C
MAYL0164 | M 401.0 | BOOL | Lamp Ready for start (Train)
MAYL0165 | M 401.1 | BOOL | Lamp Min. Gov. speed reached
MAYL0166 | M 401.2 | BOOL | Lamp Process control
MAYL0167 | M 401.3 | BOOL | Lamp Remote operation enabled
MAYL0168 | M 401.4 | BOOL | Lamp N2 operation
MAYL0176 | M 401.5 | BOOL | Lamp Spare
MAYL0178 | M 401.6 | BOOL | Lamp Common alarm
MAYL0179 | M 401.7 | BOOL | Lamp Common trip
MAXS0122 | M 402.0 | BOOL | Channel B: Activating rejection of the Low speed Trip
MASpareO2_1 | M 402.1 | BOOL | Spare
MAXS0140A | M 402.2 | BOOL | To DCS Activate/Deactivate MMS trip multiply
MAXL0165 | M 402.3 | BOOL | To DCS Min. Governor speed reached
MAXL0167 | M 402.4 | BOOL | To DCS Remote Operation Enabled
MASpareO2_5 | M 402.5 | BOOL | Spare
MAXZ0170 | M 402.6 | BOOL | To DCS Turbine Governor started
MAXZ0168 | M 402.7 | BOOL | To DCS Nitrogen Operation Active
MASpareO3_0 | M 403.0 | BOOL | Spare
MASpareO3_1 | M 403.1 | BOOL | Spare
MASpareO3_2 | M 403.2 | BOOL | Spare
MASpareO3_3 | M 403.3 | BOOL | Spare
MAXS0123 | M 403.4 | BOOL | Channel C: Activating rejection of the Low speed Trip
MASpareO3_5 | M 403.5 | BOOL | Spare
MASpareO3_6 | M 403.6 | BOOL | Spare
MASpareO3_7 | M 403.7 | BOOL | Spare
CYCL_EXC | OB 1 | OB 1 | Cycle Execution
RED_I/O_FLT1 | OB 70 | OB 70 | Redundancy I/O Fault 1
RED_FLT | OB 72 | OB 72 | Redundancy Fault
PS_FLT | OB 81 | OB 81 | Power Supply Fault
I/O_FLT1 | OB 82 | OB 82 | I/O Point Fault 1
I/O_FLT2 | OB 83 | OB 83 | I/O Point Fault 2
CPU_FLT | OB 84 | OB 84 | CPU Fault
OBNL_FLT | OB 85 | OB 85 | OB Not Loaded Fault
RACK_FLT | OB 86 | OB 86 | Loss of Rack Fault
PROG_ERR | OB 121 | OB 121 | Programming Error
FT3068 | PIW 512 | INT | Diff. pressure trnsmt with indicator CMPR suction 1st process stage
PT2075A | PIW 514 | INT | Pressure trnsmt with indicator CMPR suction 1st process stage
PT2075B | PIW 516 | INT | Pressure trnsmt with indicator CMPR discharge 1st process stage
SC0121SP | PIW 518 | INT | from DCS Turbine Speed Controller Setpoint
spareIW520 | PIW 520 | INT | spare
spareIW522 | PIW 522 | INT | spare
spareIW524 | PIW 524 | INT | spare
spareIW526 | PIW 526 | INT | spare
ZT6182 | PIW 640 | INT | Feed back positioner mounted on AS valve
TT1182 | PIW 642 | INT | Temper trnsmt CMPR suction 1st process stage
TT1383 | PIW 644 | INT | Temper trnsmt CMPR discharge 1st process stage
spareIW646 | PIW 646 | INT | spare
spareIW648 | PIW 648 | INT | spare
spareIW650 | PIW 650 | INT | spare
spareIW652 | PIW 652 | INT | spare
ZT6122 | PIW 654 | INT | Position Feedback main steam control valve
VE0148A | PIW 656 | INT | Vibration probe CMPR shaft DE
VE0144A | PIW 658 | INT | Vibration probe Turbine shaft front
VE0148B | PIW 660 | INT | Vibration probe CMPR shaft DE
VE0144B | PIW 662 | INT | Vibration probe Turbine shaft front
VE0150A | PIW 664 | INT | Vibration probe CMPR shaft NDE
VE0146A | PIW 666 | INT | Vibration probe Turbine shaft rear
VE0150B | PIW 668 | INT | Vibration probe CMPR shaft NDE
VE0146B | PIW 670 | INT | Vibration probe Turbine shaft rear
XE0152 | PIW 672 | INT | Position probe CMPR shaft
XE0141 | PIW 674 | INT | Position probe Turbine shaft front
XE0153 | PIW 676 | INT | Position probe CMPR shaft
XE0142 | PIW 678 | INT | Position probe Turbine shaft front
TE1139 | PIW 680 | INT | Temper element CMPR radial bearing DE
TE1141 | PIW 682 | INT | Temper element CMPR radial bearing NDE
TE1143 | PIW 684 | INT | Temper element CMPR axial bearing NDE inside
TE1145 | PIW 686 | INT | Temper element CMPR axial bearing NDE outside
TE1140 | PIW 688 | INT | Temper element CMPR radial bearing DE
TE1142 | PIW 690 | INT | Temper element CMPR radial bearing NDE
TE1144 | PIW 692 | INT | Temper element CMPR axial bearing NDE inside
TE1146 | PIW 694 | INT | Temper element CMPR axial bearing NDE outside
TE1135 | PIW 696 | INT | Temper element Turbine radial bearing front
TE1137 | PIW 698 | INT | Temper element Turbine radial bearing rear
TE1131 | PIW 700 | INT | Temper element Axial bearing turbine inside
TE1133 | PIW 702 | INT | Temper element Axial bearing turbine outside
TE1136 | PIW 704 | INT | Temper element Turbine radial bearing front
TE1138 | PIW 706 | INT | Temper element Turbine radial bearing rear
TE1132 | PIW 708 | INT | Temper element Axial bearing turbine inside
TE1134 | PIW 710 | INT | Temper element Axial bearing turbine outside
KE0143 | PIW 712 | INT | Vibration reference probe/-sensor Turbine shaft front