## Sheet1
LIVEBIT | WORD | W#16#0 | DCS communication livebit
TAH4101 | BOOL | FALSE | TAH4101 - AL: Cabinet temperature high
XA4101A | BOOL | FALSE | XA4101A - AL: 220V AC Fuse failure
XA4101B | BOOL | FALSE | XA4101B - AL: 24V DC Fuse failure
XAH21030 | BOOL | FALSE | XAH21030 - AL: Converter Alarm from VFD
XAHH21024 | BOOL | FALSE | XAHH21024 - TR: Converter Trip from VFD
XA21029 | BOOL | FALSE | XA21029 - TR: Emergency Stop Converter
HZ9030 | BOOL | FALSE | HZ9030 - TR: ESD push button UCP
VA9040A | BOOL | FALSE | VA9040A - AL: MMS rack 1 not ok
VA9040B | BOOL | FALSE | VA9040B - AL: MMS rack 2 not ok
res_dig_10 | BOOL | FALSE | res_dig_10 -
res_dig_11 | BOOL | FALSE | res_dig_11 -
res_dig_12 | BOOL | FALSE | res_dig_12 -
res_dig_13 | BOOL | FALSE | res_dig_13 -
res_dig_14 | BOOL | FALSE | res_dig_14 -
res_dig_15 | BOOL | FALSE | res_dig_15 -
res_dig_16 | BOOL | FALSE | res_dig_16 -
res_dig_17 | BOOL | FALSE | res_dig_17 -
res_dig_18 | BOOL | FALSE | res_dig_18 -
res_dig_19 | BOOL | FALSE | res_dig_19 -
res_dig_20 | BOOL | FALSE | res_dig_20 -
res_dig_21 | BOOL | FALSE | res_dig_21 -
res_dig_22 | BOOL | FALSE | res_dig_22 -
res_dig_23 | BOOL | FALSE | res_dig_23 -
res_dig_24 | BOOL | FALSE | res_dig_24 -
res_dig_25 | BOOL | FALSE | res_dig_25 -
res_dig_26 | BOOL | FALSE | res_dig_26 -
res_dig_27 | BOOL | FALSE | res_dig_27 -
res_dig_28 | BOOL | FALSE | res_dig_28 -
res_dig_29 | BOOL | FALSE | res_dig_29 -
res_dig_30 | BOOL | FALSE | res_dig_30 -
res_dig_31 | BOOL | FALSE | res_dig_31 -
res_dig_32 | BOOL | FALSE | res_dig_32 -
PLC_ERR_EA | BOOL | FALSE | PLC_ERR_EA - AL: PLC I/O error
PLC_ERR_RED | BOOL | FALSE | PLC_ERR_RED - AL: PLC redundancy error
PLC_ERR_BAT | BOOL | FALSE | PLC_ERR_BAT - AL: PLC backup battery empty
PLC_ERR_MDL | BOOL | FALSE | PLC_ERR_MDL - AL: PLC I/O module error/removed
SIM_ACTIVE | BOOL | FALSE | SIM_ACTIVE - AL: Simulation mode active
XA21022 | BOOL | FALSE | XA21022 - TR: Startup condition faulty VFD not ready to power up
ZAH3127 | BOOL | FALSE | ZAH3127 - TR: Startup condition faulty Anti-surge valve not open
DCS_RLS | BOOL | FALSE | DCS_RLS - TR: Startup condition faulty Startup from DCS not released
TR_MAN_MON | BOOL | FALSE | TR_MAN_MON - TR: Manual shutdown (monitor)
HDP_MASYS_FLT | BOOL | FALSE | HDP_MASYS_FLT - AL: PLC DP-Mastersystem redundancy failure
HDP_STAT_FLT | BOOL | FALSE | HDP_STAT_FLT - AL: PLC DP-Station redundancy failure
TR_TRAIN_LOC | BOOL | FALSE | TR_TRAIN_LOC - TR: Emercengy stop - Train trip local
TR_TRAIN_DCS | BOOL | FALSE | TR_TRAIN_DCS - TR: Emercengy stop - Train trip DCS
MMS_ERR | BOOL | FALSE | MMS_ERR - AL: MMS Rack 1 comm. - All conn. faulty
MMS_ERR0A | BOOL | FALSE | MMS_ERR0A - AL: MMS Rack 1 comm. - Conn. fault 0A (S7-CP_0 <-> MMS-CP_A)
MMS_ERR1B | BOOL | FALSE | MMS_ERR1B - AL: MMS Rack 1 comm. - Conn. fault 1B (S7-CP_1 <-> MMS-CP_B)
MMS2_ERR | BOOL | FALSE | MMS2_ERR - AL: MMS Rack 2 comm. - All conn. faulty
MMS2_ERR0A | BOOL | FALSE | MMS2_ERR0A - AL: MMS Rack 2 comm. - Conn. fault 0A (S7-CP_0 <-> MMS-CP_A)
MMS2_ERR1B | BOOL | FALSE | MMS2_ERR1B - AL: MMS Rack 2 comm. - Conn. fault 1B (S7-CP_1 <-> MMS-CP_B)
DCS_ERR | BOOL | FALSE | DCS_ERR - AL: DCS comm. - All connections faulty
DCS_ERR0A | BOOL | FALSE | DCS_ERR0A - AL: DCS comm. - Conn. fault 0A (S7-CP_0 <-> DCS-CP_A)
DCS_ERR1B | BOOL | FALSE | DCS_ERR1B - AL: DCS comm. - Conn. fault 1B (S7-CP_1 <-> DCS-CP_B)
VAHH1419 | BOOL | FALSE | VAHH1419 - TR: Vibration compressor shaft (2oo4)
VAHH0060 | BOOL | FALSE | VAHH0060 - TR: Position compressor shaft NDE too high (2oo2)
VALL0060 | BOOL | FALSE | VALL0060 - TR: Position compressor shaft NDE too low (2oo2)
VAHH0052 | BOOL | FALSE | VAHH0052 - TR: Position gearbox LS shaft NDE too high (2oo2)
VALL0052 | BOOL | FALSE | VALL0052 - TR: Position gearbox LS shaft NDE too low (2oo2)
TAHH1452C | BOOL | FALSE | TAHH1452C - TR: Temperature compressor radial bearing NDE too high (2oo2)
TAHH1454C | BOOL | FALSE | TAHH1454C - TR: Temperature compressor axial bearing inside NDE too high (2oo2)
TAHH1456C | BOOL | FALSE | TAHH1456C - TR: Temperature compressor or axial bearing outside NDE too high (2
TAHH1458C | BOOL | FALSE | TAHH1458C - TR: Temperature compressor radial bearing DE too high (2oo2)
TAHH1459C | BOOL | FALSE | TAHH1459C - TR: Temperature gearbox LS shaft radial bearing NDE too high (2oo2)
TAHH1461C | BOOL | FALSE | TAHH1461C - TR: Temperature gearbox LS shaft axial bearing inside NDE too high
TAHH1463C | BOOL | FALSE | TAHH1463C - TR: Temperature gearbox LS shaft axial bearing outside NDE too high
TAHH1465C | BOOL | FALSE | TAHH1465C - TR: Temperature gearbox LS shaft radial bearing DE too high (2oo2)
VI1419_ERR | BOOL | FALSE | VI1419_ERR - TR: Vibration compressor shaft probe failure (2oo4)
VI0054_ERR | BOOL | FALSE | VI0054_ERR - TR: Vibration gearbox LS shaft NDE probe failure (2oo2)
VI0056_ERR | BOOL | FALSE | VI0056_ERR - TR: Vibration gearbox LS shaft DE probe failure (2oo2)
VI0050_ERR | BOOL | FALSE | VI0050_ERR - TR: Vibration gearbox HS shaft DE probe failure (2oo2)
VI0051_ERR | BOOL | FALSE | VI0051_ERR - TR: Vibration gearbox HS shaft NDE probe failure (2oo2)
VI0061_ERR | BOOL | FALSE | VI0061_ERR - TR: Vibration motor shaft NDE probe failure (2oo2)
VI0062_ERR | BOOL | FALSE | VI0062_ERR - TR: Vibration motor shaft DE probe failure (2oo2)
TI1452C_ERR | BOOL | FALSE | TI1452C_ERR - TR: Temperature compressor radial bearing NDE probe failure (2oo2
TI1454C_ERR | BOOL | FALSE | TI1454C_ERR - TR: Temperature compressor axial bearing inside NDE probe failure
TI1456C_ERR | BOOL | FALSE | TI1456C_ERR - TR: Temperature compressor axial bearing outside NDE probe failur
TI1458C_ERR | BOOL | FALSE | TI1458C_ERR - TR: Temperature compressor radial bearing DE probe failure (2oo2)
TI1459C_ERR | BOOL | FALSE | TI1459C_ERR - TR: Temperature gearbox LS shaft radial bearing NDE probe failure
TI1461C_ERR | BOOL | FALSE | TI1461C_ERR - TR: Temperature gearbox LS shaft axial bearing inside NDE probe f
TI1463C_ERR | BOOL | FALSE | TI1463C_ERR - TR: Temperature gearbox LS shaft axial bearing outside NDE probe
TI1465C_ERR | BOOL | FALSE | TI1465C_ERR - TR: Temperature gearbox LS shaft radial bearing DE probe failure
TI1467C_ERR | BOOL | FALSE | TI1467C_ERR - TR: Temperature gearbox HS shaft radial bearing DE probe failure
TI1469C_ERR | BOOL | FALSE | TI1469C_ERR - TR: Temperature gearbox HS shaft radial bearing NDE probe failure
TAHH1467C | BOOL | FALSE | TAHH1467C - TR: Temperature gearbox HS shaft radial bearing DE too high (2oo2)
TAHH1469C | BOOL | FALSE | TAHH1469C - TR: Temperature gearbox HS shaft radial bearing NDE too high (2oo2)
XA1481 | BOOL | FALSE | XA1481 - TR: Main motor feedback error
XA21027 | BOOL | FALSE | XA21027 - TR: Drive rotates from VFD drop off
HZA9032 | BOOL | FALSE | HZA9032 - TR: Trip from ESD system
XZA9188 | BOOL | FALSE | XZA9188 - TR: Trip safety relay UCP
res_dig_91 | BOOL | FALSE | res_dig_91 -
res_dig_92 | BOOL | FALSE | res_dig_92 -
res_dig_93 | BOOL | FALSE | res_dig_93 -
res_dig_94 | BOOL | FALSE | res_dig_94 -
res_dig_95 | BOOL | FALSE | res_dig_95 -
res_dig_96 | BOOL | FALSE | res_dig_96 -
res_dig_97 | BOOL | FALSE | res_dig_97 -
res_dig_98 | BOOL | FALSE | res_dig_98 -
res_dig_99 | BOOL | FALSE | res_dig_99 -
res_dig_100 | BOOL | FALSE | res_dig_100 -
res_dig_101 | BOOL | FALSE | res_dig_101 -
res_dig_102 | BOOL | FALSE | res_dig_102 -
res_dig_103 | BOOL | FALSE | res_dig_103 -
res_dig_104 | BOOL | FALSE | res_dig_104 -
res_dig_105 | BOOL | FALSE | res_dig_105 -
res_dig_106 | BOOL | FALSE | res_dig_106 -
res_dig_107 | BOOL | FALSE | res_dig_107 -
res_dig_108 | BOOL | FALSE | res_dig_108 -
res_dig_109 | BOOL | FALSE | res_dig_109 -
res_dig_110 | BOOL | FALSE | res_dig_110 -
res_dig_111 | BOOL | FALSE | res_dig_111 -
res_dig_112 | BOOL | FALSE | res_dig_112 -
VAH0054X | BOOL | FALSE | VAH0054X - AL: Vibration gearbox LS shaft NDE high
VAHH0054X | BOOL | FALSE | VAHH0054X - TR: Vibration gearbox LS shaft NDE too high
VAH0056X | BOOL | FALSE | VAH0056X - AL: Vibration gearbox LS shaft DE high
VAHH0056X | BOOL | FALSE | VAHH0056X - TR: Vibration gearbox LS shaft DE too high
VAH0058X | BOOL | FALSE | VAH0058X - AL: Vibration compressor shaft NDE high
VAHH0058X | BOOL | FALSE | VAHH0058X - AL: Vibration compressor shaft NDE too high
VAH0057X | BOOL | FALSE | VAH0057X - AL: Vibration compressor shaft DE high
VAHH0057X | BOOL | FALSE | VAHH0057X - AL: Vibration compressor shaft DE too high
VAH0054Y | BOOL | FALSE | VAH0054Y - AL: Vibration gearbox LS shaft NDE high
VAHH0054Y | BOOL | FALSE | VAHH0054Y - TR: Vibration gearbox LS shaft NDE too high
VAH0056Y | BOOL | FALSE | VAH0056Y - AL: Vibration gearbox LS shaft DE high
VAHH0056Y | BOOL | FALSE | VAHH0056Y - TR: Vibration gearbox LS shaft DE too high
VAH0058Y | BOOL | FALSE | VAH0058Y - AL: Vibration compressor shaft NDE high
VAHH0058Y | BOOL | FALSE | VAHH0058Y - AL: Vibration compressor shaft NDE too high
VAH0057Y | BOOL | FALSE | VAH0057Y - AL: Vibration compressor shaft DE high
VAHH0057Y | BOOL | FALSE | VAHH0057Y - AL: Vibration compressor shaft DE too high
VAH0061X | BOOL | FALSE | VAH0061X - AL: Vibration motor shaft NDE high
VAHH0061X | BOOL | FALSE | VAHH0061X - TR: Vibration motor shaft NDE too high
VAH0062X | BOOL | FALSE | VAH0062X - AL: Vibration motor shaft DE high
VAHH0062X | BOOL | FALSE | VAHH0062X - TR: Vibration motor shaft DE too high
VAH0050X | BOOL | FALSE | VAH0050X - AL: Vibration gearbox HS shaft DE high
VAHH0050X | BOOL | FALSE | VAHH0050X - TR: Vibration gearbox HS shaft DE too high
VAH0051X | BOOL | FALSE | VAH0051X - AL: Vibration gearbox HS shaft NDE high
VAHH0051X | BOOL | FALSE | VAHH0051X - TR: Vibration gearbox HS shaft NDE too high
VAH0061Y | BOOL | FALSE | VAH0061Y - AL: Vibration motor shaft NDE high
VAHH0061Y | BOOL | FALSE | VAHH0061Y - TR: Vibration motor shaft NDE too high
VAH0062Y | BOOL | FALSE | VAH0062Y - AL: Vibration motor shaft DE high
VAHH0062Y | BOOL | FALSE | VAHH0062Y - TR: Vibration motor shaft DE too high
VALL0060AZ | BOOL | FALSE | VALL0060AZ - AL: Position compressor shaft NDE too low
VAL0060AZ | BOOL | FALSE | VAL0060AZ - AL: Position compressor shaft NDE low
VAH0060AZ | BOOL | FALSE | VAH0060AZ - AL: Position compressor shaft NDE high
VAHH0060AZ | BOOL | FALSE | VAHH0060AZ - AL: Position compressor shaft NDE too high
VALL0052AZ | BOOL | FALSE | VALL0052AZ - AL: Position gearbox LS shaft NDE too low
VAL0052AZ | BOOL | FALSE | VAL0052AZ - AL: Position gearbox LS shaft NDE low
VAH0052AZ | BOOL | FALSE | VAH0052AZ - AL: Position gearbox LS shaft NDE high
VAHH0052AZ | BOOL | FALSE | VAHH0052AZ - AL: Position gearbox LS shaft NDE too high
VALL0060BZ | BOOL | FALSE | VALL0060BZ - AL: Position compressor shaft NDE too low
VAL0060BZ | BOOL | FALSE | VAL0060BZ - AL: Position compressor shaft NDE low
VAH0060BZ | BOOL | FALSE | VAH0060BZ - AL: Position compressor shaft NDE high
VAHH0060BZ | BOOL | FALSE | VAHH0060BZ - AL: Position compressor shaft NDE too high
VALL0052BZ | BOOL | FALSE | VALL0052BZ - AL: Position gearbox LS shaft NDE too low
VAL0052BZ | BOOL | FALSE | VAL0052BZ - AL: Position gearbox LS shaft NDE low
VAH0052BZ | BOOL | FALSE | VAH0052BZ - AL: Position gearbox LS shaft NDE high
VAHH0052BZ | BOOL | FALSE | VAHH0052BZ - AL: Position gearbox LS shaft NDE too high
VAH0050Y | BOOL | FALSE | VAH0050Y - AL: Vibration gearbox HS shaft DE high
VAHH0050Y | BOOL | FALSE | VAHH0050Y - TR: Vibration gearbox HS shaft DE too high
VAH0051Y | BOOL | FALSE | VAH0051Y - AL: Vibration gearbox HS shaft NDE high
VAHH0051Y | BOOL | FALSE | VAHH0051Y - TR: Vibration gearbox HS shaft NDE too high
res_dig_161 | BOOL | FALSE | res_dig_161 -
res_dig_162 | BOOL | FALSE | res_dig_162 -
res_dig_163 | BOOL | FALSE | res_dig_163 -
res_dig_164 | BOOL | FALSE | res_dig_164 -
res_dig_165 | BOOL | FALSE | res_dig_165 -
res_dig_166 | BOOL | FALSE | res_dig_166 -
res_dig_167 | BOOL | FALSE | res_dig_167 -
res_dig_168 | BOOL | FALSE | res_dig_168 -
VAH0055 | BOOL | FALSE | VAH0055 - AL: Acceleration gearbox casing high
TAH1451 | BOOL | FALSE | TAH1451 - AL: Temperature compressor radial bearing NDE high
TAHH1451 | BOOL | FALSE | TAHH1451 - AL: Temperature compressor radial bearing NDE too high
TAH1453 | BOOL | FALSE | TAH1453 - AL: Temperature compressor axial bearing inside NDE high
TAHH1453 | BOOL | FALSE | TAHH1453 - AL: Temperature compressor axial bearing inside NDE too high
TAH1455 | BOOL | FALSE | TAH1455 - AL: Temperature compressor axial bearing outside NDE high
TAHH1455 | BOOL | FALSE | TAHH1455 - AL: Temperature compressor axial bearing outside NDE too high
TAH1457 | BOOL | FALSE | TAH1457 - AL: Temperature compressor radial bearing DE high
TAHH1457 | BOOL | FALSE | TAHH1457 - AL: Temperature compressor radial bearing DE too high
TAH1452 | BOOL | FALSE | TAH1452 - AL: Temperature compressor radial bearing NDE high
TAHH1452 | BOOL | FALSE | TAHH1452 - AL: Temperature compressor radial bearing NDE too high
TAH1454 | BOOL | FALSE | TAH1454 - AL: Temperature compressor axial bearing inside NDE high
TAHH1454 | BOOL | FALSE | TAHH1454 - AL: Temperature compressor axial bearing inside NDE too high
TAH1456 | BOOL | FALSE | TAH1456 - AL: Temperature compressor axial bearing outside NDE high
TAHH1456 | BOOL | FALSE | TAHH1456 - AL: Temperature compressor axial bearing outside NDE too high
TAH1458 | BOOL | FALSE | TAH1458 - AL: Temperature compressor radial bearing DE high
TAHH1458 | BOOL | FALSE | TAHH1458 - AL: Temperature compressor radial bearing DE too high
TAH1459 | BOOL | FALSE | TAH1459 - AL: Temperature gearbox LS shaft radial bearing NDE high
TAHH1459 | BOOL | FALSE | TAHH1459 - AL: Temperature gearbox LS shaft radial bearing NDE too high
TAH1461 | BOOL | FALSE | TAH1461 - AL: Temperature gearbox LS shaft axial bearing inside NDE high
TAHH1461 | BOOL | FALSE | TAHH1461 - AL: Temperature gearbox LS shaft axial bearing inside NDE too high
TAH1463 | BOOL | FALSE | TAH1463 - AL: Temperature gearbox LS shaft axial bearing outside NDE high
TAHH1463 | BOOL | FALSE | TAHH1463 - AL: Temperature gearbox LS shaft axial bearing outside NDE too high
TAH1465 | BOOL | FALSE | TAH1465 - AL: Temperature gearbox LS shaft radial bearing DE high
TAHH1465 | BOOL | FALSE | TAHH1465 - AL: Temperature gearbox LS shaft radial bearing DE too high
TAH1460 | BOOL | FALSE | TAH1460 - AL: Temperature gearbox LS shaft radial bearing NDE high
TAHH1460 | BOOL | FALSE | TAHH1460 - AL: Temperature gearbox LS shaft radial bearing NDE too high
TAH1462 | BOOL | FALSE | TAH1462 - AL: Temperature gearbox LS shaft axial bearing inside NDE high
TAHH1462 | BOOL | FALSE | TAHH1462 - AL: Temperature gearbox LS shaft axial bearing inside NDE too high
TAH1464 | BOOL | FALSE | TAH1464 - AL: Temperature gearbox LS shaft axial bearing outside NDE high
TAHH1464 | BOOL | FALSE | TAHH1464 - AL: Temperature gearbox LS shaft axial bearing outside NDE too high
TAH1466 | BOOL | FALSE | TAH1466 - AL: Temperature gearbox LS shaft radial bearing DE high
TAHH1466 | BOOL | FALSE | TAHH1466 - AL: Temperature gearbox LS shaft radial bearing DE too high
TAH1467 | BOOL | FALSE | TAH1467 - AL: Temperature gearbox HS shaft radial bearing DE high
TAHH1467 | BOOL | FALSE | TAHH1467 - AL: Temperature gearbox HS shaft radial bearing DE too high
TAH1469 | BOOL | FALSE | TAH1469 - AL: Temperature gearbox HS shaft radial bearing NDE high
TAHH1469 | BOOL | FALSE | TAHH1469 - AL: Temperature gearbox HS shaft radial bearing NDE too high
TAH1476 | BOOL | FALSE | TAH1476 - AL: Temperature motor shaft radial bearing DE high
TAHH1476 | BOOL | FALSE | TAHH1476 - TR: Temperature motor shaft radial bearing DE too high
TAH1474 | BOOL | FALSE | TAH1474 - AL: Temperature motor hot air high
TAH1468 | BOOL | FALSE | TAH1468 - AL: Temperature gearbox HS shaft radial bearing DE high
TAHH1468 | BOOL | FALSE | TAHH1468 - AL: Temperature gearbox HS shaft radial bearing DE too high
TAH1470 | BOOL | FALSE | TAH1470 - AL: Temperature gearbox HS shaft radial bearing NDE high
TAHH1470 | BOOL | FALSE | TAHH1470 - AL: Temperature gearbox HS shaft radial bearing NDE too high
TAH1477 | BOOL | FALSE | TAH1477 - AL: Temperature motor shaft radial bearing NDE high
TAHH1477 | BOOL | FALSE | TAHH1477 - TR: Temperature motor shaft radial bearing NDE too high
TAH1475 | BOOL | FALSE | TAH1475 - AL: Temperature motor cold air high
TAH1471 | BOOL | FALSE | TAH1471 - AL: Temperature motor winding U high
TAHH1471 | BOOL | FALSE | TAHH1471 - TR: Temperature motor winding U too high
TAH1472 | BOOL | FALSE | TAH1472 - AL: Temperature motor winding V high
TAHH1472 | BOOL | FALSE | TAHH1472 - TR: Temperature motor winding V too high
TAH1473 | BOOL | FALSE | TAH1473 - AL: Temperature motor winding W high
TAHH1473 | BOOL | FALSE | TAHH1473 - TR: Temperature motor winding W too high
res_dig_222 | BOOL | FALSE | res_dig_222 -
res_dig_223 | BOOL | FALSE | res_dig_223 -
res_dig_224 | BOOL | FALSE | res_dig_224 -
res_dig_225 | BOOL | FALSE | res_dig_225 -
res_dig_226 | BOOL | FALSE | res_dig_226 -
res_dig_227 | BOOL | FALSE | res_dig_227 -
res_dig_228 | BOOL | FALSE | res_dig_228 -
res_dig_229 | BOOL | FALSE | res_dig_229 -
res_dig_230 | BOOL | FALSE | res_dig_230 -
res_dig_231 | BOOL | FALSE | res_dig_231 -
res_dig_232 | BOOL | FALSE | res_dig_232 -
res_dig_233 | BOOL | FALSE | res_dig_233 -
res_dig_234 | BOOL | FALSE | res_dig_234 -
res_dig_235 | BOOL | FALSE | res_dig_235 -
res_dig_236 | BOOL | FALSE | res_dig_236 -
res_dig_237 | BOOL | FALSE | res_dig_237 -
res_dig_238 | BOOL | FALSE | res_dig_238 -
res_dig_239 | BOOL | FALSE | res_dig_239 -
res_dig_240 | BOOL | FALSE | res_dig_240 -
res_dig_241 | BOOL | FALSE | res_dig_241 -
res_dig_242 | BOOL | FALSE | res_dig_242 -
res_dig_243 | BOOL | FALSE | res_dig_243 -
res_dig_244 | BOOL | FALSE | res_dig_244 -
res_dig_245 | BOOL | FALSE | res_dig_245 -
res_dig_246 | BOOL | FALSE | res_dig_246 -
res_dig_247 | BOOL | FALSE | res_dig_247 -
res_dig_248 | BOOL | FALSE | res_dig_248 -
res_dig_249 | BOOL | FALSE | res_dig_249 -
res_dig_250 | BOOL | FALSE | res_dig_250 -
res_dig_251 | BOOL | FALSE | res_dig_251 -
res_dig_252 | BOOL | FALSE | res_dig_252 -
res_dig_253 | BOOL | FALSE | res_dig_253 -
res_dig_254 | BOOL | FALSE | res_dig_254 -
res_dig_255 | BOOL | FALSE | res_dig_255 -
res_dig_256 | BOOL | FALSE | res_dig_256 -
res_dig_257 | BOOL | FALSE | res_dig_257 -
res_dig_258 | BOOL | FALSE | res_dig_258 -
res_dig_259 | BOOL | FALSE | res_dig_259 -
res_dig_260 | BOOL | FALSE | res_dig_260 -
res_dig_261 | BOOL | FALSE | res_dig_261 -
res_dig_262 | BOOL | FALSE | res_dig_262 -
res_dig_263 | BOOL | FALSE | res_dig_263 -
res_dig_264 | BOOL | FALSE | res_dig_264 -
res_dig_265 | BOOL | FALSE | res_dig_265 -
res_dig_266 | BOOL | FALSE | res_dig_266 -
res_dig_267 | BOOL | FALSE | res_dig_267 -
res_dig_268 | BOOL | FALSE | res_dig_268 -
res_dig_269 | BOOL | FALSE | res_dig_269 -
res_dig_270 | BOOL | FALSE | res_dig_270 -
res_dig_271 | BOOL | FALSE | res_dig_271 -
res_dig_272 | BOOL | FALSE | res_dig_272 -
FI3127_ERR | BOOL | FALSE | FI3127_ERR - AL: Flow - Compr. 1st stage suction
PI2284_ERR | BOOL | FALSE | PI2284_ERR - AL: Pressure - Compr. 1st stage suction
PI2283_ERR | BOOL | FALSE | PI2283_ERR - AL: Pressure - Compr. 2nd stage discharge
ZI3127_ERR | BOOL | FALSE | ZI3127_ERR - AL: Position - AS valve recycle line compr.
TI1483_ERR | BOOL | FALSE | TI1483_ERR - AL: Temperature - Compr. 2nd stage discharge
TI1482_ERR | BOOL | FALSE | TI1482_ERR - AL: Temperature - Compr. 1st stage suction
SI21028_ERR | BOOL | FALSE | SI21028_ERR - AL: Speed main motor actual value from VFD
VI0054X_ERR | BOOL | FALSE | VI0054X_ERR - AL: Vibration gearbox LS shaft NDE
VI0056X_ERR | BOOL | FALSE | VI0056X_ERR - AL: Vibration gearbox LS shaft DE
VI0058X_ERR | BOOL | FALSE | VI0058X_ERR - AL: Vibration compressor shaft NDE
VI0057X_ERR | BOOL | FALSE | VI0057X_ERR - AL: Vibration compressor shaft DE
VI0054Y_ERR | BOOL | FALSE | VI0054Y_ERR - AL: Vibration gearbox LS shaft NDE
VI0056Y_ERR | BOOL | FALSE | VI0056Y_ERR - AL: Vibration gearbox LS shaft DE
VI0058Y_ERR | BOOL | FALSE | VI0058Y_ERR - AL: Vibration compressor shaft NDE
VI0057Y_ERR | BOOL | FALSE | VI0057Y_ERR - AL: Vibration compressor shaft DE
VI0061X_ERR | BOOL | FALSE | VI0061X_ERR - AL: Vibration motor shaft NDE
VI0062X_ERR | BOOL | FALSE | VI0062X_ERR - AL: Vibration motor shaft DE
VI0050X_ERR | BOOL | FALSE | VI0050X_ERR - AL: Vibration gearbox HS shaft DE
VI0051X_ERR | BOOL | FALSE | VI0051X_ERR - AL: Vibration gearbox HS shaft NDE
VI0060AZ_ERR | BOOL | FALSE | VI0060AZ_ERR - AL: Position compressor shaft NDE
VI0052AZ_ERR | BOOL | FALSE | VI0052AZ_ERR - AL: Position gearbox LS shaft NDE
VI0061Y_ERR | BOOL | FALSE | VI0061Y_ERR - AL: Vibration motor shaft NDE
VI0062Y_ERR | BOOL | FALSE | VI0062Y_ERR - AL: Vibration motor shaft DE
VI0060BZ_ERR | BOOL | FALSE | VI0060BZ_ERR - AL: Position compressor shaft NDE
VI0052BZ_ERR | BOOL | FALSE | VI0052BZ_ERR - AL: Position gearbox LS shaft NDE
VI0050Y_ERR | BOOL | FALSE | VI0050Y_ERR - AL: Vibration gearbox HS shaft DE
VI0051Y_ERR | BOOL | FALSE | VI0051Y_ERR - AL: Vibration gearbox HS shaft NDE
res_dig_300 | BOOL | FALSE | res_dig_300 -
res_dig_301 | BOOL | FALSE | res_dig_301 -
VI0055_ERR | BOOL | FALSE | VI0055_ERR - AL: Acceleration gearbox casing
VI0053_ERR | BOOL | FALSE | VI0053_ERR - AL: Speed gearbox LS shaft keyphasor
VI0059_ERR | BOOL | FALSE | VI0059_ERR - AL: Speed compressor shaft NDE
TI1451_ERR | BOOL | FALSE | TI1451_ERR - AL: Temperature compressor radial bearing NDE
TI1453_ERR | BOOL | FALSE | TI1453_ERR - AL: Temperature compressor axial bearing inside NDE
TI1455_ERR | BOOL | FALSE | TI1455_ERR - AL: Temperature compressor axial bearing outside NDE
TI1457_ERR | BOOL | FALSE | TI1457_ERR - AL: Temperature compressor radial bearing DE
TI1452_ERR | BOOL | FALSE | TI1452_ERR - AL: Temperature compressor radial bearing NDE
TI1454_ERR | BOOL | FALSE | TI1454_ERR - AL: Temperature compressor axial bearing inside NDE
TI1456_ERR | BOOL | FALSE | TI1456_ERR - AL: Temperature compressor axial bearing outside NDE
TI1458_ERR | BOOL | FALSE | TI1458_ERR - AL: Temperature compressor radial bearing DE
TI1459_ERR | BOOL | FALSE | TI1459_ERR - AL: Temperature gearbox LS shaft radial bearing NDE
TI1461_ERR | BOOL | FALSE | TI1461_ERR - AL: Temperature gearbox LS shaft axial bearing inside NDE
TI1463_ERR | BOOL | FALSE | TI1463_ERR - AL: Temperature gearbox LS shaft axial bearing outside NDE
TI1465_ERR | BOOL | FALSE | TI1465_ERR - AL: Temperature gearbox LS shaft radial bearing DE
TI1460_ERR | BOOL | FALSE | TI1460_ERR - AL: Temperature gearbox LS shaft radial bearing NDE
TI1462_ERR | BOOL | FALSE | TI1462_ERR - AL: Temperature gearbox LS shaft axial bearing inside NDE
TI1464_ERR | BOOL | FALSE | TI1464_ERR - AL: Temperature gearbox LS shaft axial bearing outside NDE
TI1466_ERR | BOOL | FALSE | TI1466_ERR - AL: Temperature gearbox LS shaft radial bearing DE
TI1467_ERR | BOOL | FALSE | TI1467_ERR - AL: Temperature gearbox HS shaft radial bearing DE
TI1469_ERR | BOOL | FALSE | TI1469_ERR - AL: Temperature gearbox HS shaft radial bearing NDE
TI1476_ERR | BOOL | FALSE | TI1476_ERR - AL: Temperature motor shaft radial bearing DE
TI1474_ERR | BOOL | FALSE | TI1474_ERR - AL: Temperature motor hot air
TI1468_ERR | BOOL | FALSE | TI1468_ERR - AL: Temperature gearbox HS shaft radial bearing DE
TI1470_ERR | BOOL | FALSE | TI1470_ERR - AL: Temperature gearbox HS shaft radial bearing NDE
TI1477_ERR | BOOL | FALSE | TI1477_ERR - AL: Temperature motor shaft radial bearing NDE
TI1475_ERR | BOOL | FALSE | TI1475_ERR - AL: Temperature motor cold air
TI1471_ERR | BOOL | FALSE | TI1471_ERR - AL: Temperature motor winding U
TI1472_ERR | BOOL | FALSE | TI1472_ERR - AL: Temperature motor winding V
TI1473_ERR | BOOL | FALSE | TI1473_ERR - AL: Temperature motor winding W
SI71009A_ERR | BOOL | FALSE | SI71009A_ERR - AL: Speed main motor setpoint from DCS (70-105% rated)
res_dig_333 | BOOL | FALSE | res_dig_333 -
res_dig_334 | BOOL | FALSE | res_dig_334 -
res_dig_335 | BOOL | FALSE | res_dig_335 -
res_dig_336 | BOOL | FALSE | res_dig_336 -
res_dig_337 | BOOL | FALSE | res_dig_337 -
res_dig_338 | BOOL | FALSE | res_dig_338 -
res_dig_339 | BOOL | FALSE | res_dig_339 -
res_dig_340 | BOOL | FALSE | res_dig_340 -
res_dig_341 | BOOL | FALSE | res_dig_341 -
res_dig_342 | BOOL | FALSE | res_dig_342 -
res_dig_343 | BOOL | FALSE | res_dig_343 -
res_dig_344 | BOOL | FALSE | res_dig_344 -
res_dig_345 | BOOL | FALSE | res_dig_345 -
res_dig_346 | BOOL | FALSE | res_dig_346 -
res_dig_347 | BOOL | FALSE | res_dig_347 -
res_dig_348 | BOOL | FALSE | res_dig_348 -
res_dig_349 | BOOL | FALSE | res_dig_349 -
res_dig_350 | BOOL | FALSE | res_dig_350 -
res_dig_351 | BOOL | FALSE | res_dig_351 -
res_dig_352 | BOOL | FALSE | res_dig_352 -
ZSH3127 | BOOL | FALSE | ZSH3127 - Limit switch mounted on AS valve
ZSL3127 | BOOL | FALSE | ZSL3127 - Limit switch mounted on AS valve
XI9031 | BOOL | FALSE | XI9031 - Startup release from DCS
ZS3127 | BOOL | FALSE | ZS3127 - Solenoid valve control recycle line from ESD
XS21027 | BOOL | FALSE | XS21027 - Drive rotates from VFD
res_dig_358 | BOOL | FALSE | res_dig_358 -
res_dig_359 | BOOL | FALSE | res_dig_359 -
res_dig_360 | BOOL | FALSE | res_dig_360 -
res_dig_361 | BOOL | FALSE | res_dig_361 -
res_dig_362 | BOOL | FALSE | res_dig_362 -
res_dig_363 | BOOL | FALSE | res_dig_363 -
res_dig_364 | BOOL | FALSE | res_dig_364 -
res_dig_365 | BOOL | FALSE | res_dig_365 -
res_dig_366 | BOOL | FALSE | res_dig_366 -
res_dig_367 | BOOL | FALSE | res_dig_367 -
res_dig_368 | BOOL | FALSE | res_dig_368 -
res_dig_369 | BOOL | FALSE | res_dig_369 -
res_dig_370 | BOOL | FALSE | res_dig_370 -
res_dig_371 | BOOL | FALSE | res_dig_371 -
res_dig_372 | BOOL | FALSE | res_dig_372 -
res_dig_373 | BOOL | FALSE | res_dig_373 -
res_dig_374 | BOOL | FALSE | res_dig_374 -
res_dig_375 | BOOL | FALSE | res_dig_375 -
res_dig_376 | BOOL | FALSE | res_dig_376 -
res_dig_377 | BOOL | FALSE | res_dig_377 -
res_dig_378 | BOOL | FALSE | res_dig_378 -
res_dig_379 | BOOL | FALSE | res_dig_379 -
res_dig_380 | BOOL | FALSE | res_dig_380 -
res_dig_381 | BOOL | FALSE | res_dig_381 -
res_dig_382 | BOOL | FALSE | res_dig_382 -
res_dig_383 | BOOL | FALSE | res_dig_383 -
res_dig_384 | BOOL | FALSE | res_dig_384 -
FT3127 | INT | 0 | Diff. pressure transmitter Compressor suction 1st stage
PT2284 | INT | 0 | Pressure transmitter Compressor suction 1st stage
PT2172 | INT | 0 | Pressure transmitter Compressor discharge 1st process stage
ZT3127 | INT | 0 | Feed back positioner Compressor recycle 1st process stage
TT1198 | INT | 0 | Temperature transmitter Compressor discharge 1st stage
TT1482 | INT | 0 | Temperature transmitter Compressor suction 1st stage
SI71009A | INT | 0 | Speed main motor Setpoint DCS to UCP
SI21028 | INT | 0 | Speed Main Actual Value UCP Interface
VE0059 | INT | 0 | Vibration reference probe/-sensor Compressor shaft
VE0053 | INT | 0 | Vibration reference probe/-sensor Gearbox drive shaft
VE0060CZ | INT | 0 | Position probe (spare) Compressor shaft
VE0052CZ | INT | 0 | Position probe (spare) Gearbox drive shaft
VE0060AZ | INT | 0 | Position probe Compressor shaft
VE0060BZ | INT | 0 | Position probe Compressor shaft
VE0052AZ | INT | 0 | Position probe Gearbox drive shaft
VE0052BZ | INT | 0 | Position probe Gearbox drive shaft
VE0057X | INT | 0 | Vibration probe Compressor shaft DE
VE0057Y | INT | 0 | Vibration probe Compressor shaft DE
VE0058X | INT | 0 | Vibration probe Compressor shaft NDE
VE0058Y | INT | 0 | Vibration probe Compressor shaft NDE
VE0056X | INT | 0 | Vibration probe Gearbox drive shaft DE
VE0056Y | INT | 0 | Vibration probe Gearbox drive shaft DE
VE0054X | INT | 0 | Vibration probe Gearbox drive shaft NDE
VE0054Y | INT | 0 | Vibration probe Gearbox drive shaft NDE
VE0050X | INT | 0 | Vibration probe Gearbox output shaft DE
VE0050Y | INT | 0 | Vibration probe Gearbox output shaft DE
VE0051X | INT | 0 | Vibration probe Gearbox output shaft NDE
VE0051Y | INT | 0 | Vibration probe Gearbox output shaft NDE
VT0062X | INT | 0 | Vibration proxpac Motor shaft DE
VT0062Y | INT | 0 | Vibration proxpac Motor shaft DE
VT0061X | INT | 0 | Vibration proxpac Motor shaft NDE
VT0061Y | INT | 0 | Vibration proxpac Motor shaft NDE
VT0055 | INT | 0 | Proximitor/Transmitor Gearbox bearing casing drive shaft
TE1453 | INT | 0 | Temperature element Compressor axial bearing NDE inside
TE1454 | INT | 0 | Temperature element Compressor axial bearing NDE inside
TE1455 | INT | 0 | Temperature element Compressor axial bearing NDE outside
TE1456 | INT | 0 | Temperature element Compressor axial bearing NDE outside
TE1457 | INT | 0 | Temperature element Compressor radial bearing DE
TE1458 | INT | 0 | Temperature element Compressor radial bearing DE
TE1451 | INT | 0 | Temperature element Compressor radial bearing NDE
TE1452 | INT | 0 | Temperature element Compressor radial bearing NDE
TE1461 | INT | 0 | Temperature element Gearbox drive shaft axial bearing inside
TE1462 | INT | 0 | Temperature element Gearbox drive shaft axial bearing inside
TE1463 | INT | 0 | Temperature element Gearbox drive shaft axial bearing outside
TE1464 | INT | 0 | Temperature element Gearbox drive shaft axial bearing outside
TE1465 | INT | 0 | Temperature element Gearbox drive shaft radial bearing DE
TE1466 | INT | 0 | Temperature element Gearbox drive shaft radial bearing DE
TE1459 | INT | 0 | Temperature element Gearbox drive shaft radial bearing NDE
TE1460 | INT | 0 | Temperature element Gearbox drive shaft radial bearing NDE
TE1467 | INT | 0 | Temperature element Gearbox output shaft radial bearing DE
TE1468 | INT | 0 | Temperature element Gearbox output shaft radial bearing DE
TE1469 | INT | 0 | Temperature element Gearbox output shaft radial bearing NDE
TE1470 | INT | 0 | Temperature element Gearbox output shaft radial bearing NDE
TE1476 | INT | 0 | Temperature element Motor bearing DE
TE1477 | INT | 0 | Temperature element Motor bearing NDE
TE1475 | INT | 0 | Temperature element Motor cold air
TE1474 | INT | 0 | Temperature element Motor hot air
TE1471 | INT | 0 | Temperature element Motor winding U
TE1472 | INT | 0 | Temperature element Motor winding V
TE1473 | INT | 0 | Temperature element Motor winding W
FI3127A | INT | 0 | Anti surge controller control deviation UCP to DCS
FCV3127 | INT | 0 | Anti surge valve Compressor recycle 1st process stage
SI71009 | INT | 0 | Main Set Point Speed VFD Interface
SI21028A | INT | 0 | Speed main motor actual value UCP to DCS
res_ang_1 | INT | 0
res_ang_2 | INT | 0
res_ang_3 | INT | 0
res_ang_4 | INT | 0
res_ang_5 | INT | 0
res_ang_6 | INT | 0
res_ang_7 | INT | 0
res_ang_8 | INT | 0
res_ang_9 | INT | 0
res_ang_10 | INT | 0